## Front Page
Probe Information File (PIF) D001-C1 Hereditary Cancel Panel 1 To be used with the product description.
Implemented Changes in the Probe Information File
Version C1-02 — 09 December 2022 (02) - Warning 2 (more variable) added for probe S010166. Version C1-01 — 25 February 2022 (02) - Not applicable, new document.

## Probe Information File
D001-C1 Hereditary Cancer Panel 1 - PIF version C1-02 | [11 empty] | PIFTV02
Notes
The purpose of this Probe Information File (PIF) is to provide information on the location, mutation details and warnings of the probes present in the above mentioned SALSA digitalMLPA probemix. More information is present in the Product Description.
a The mapview locations are based on the hg38 build. A tool for converting genome coordinates and genome annotation files between assemblies can be found here: https://genome.ucsc.edu/cgi-bin/hgLiftOver.
b LRV used column: Yes if a Lot Reference Value will be used for analysis of this probe in Coffalyser digitalMLPA.
Probe types
CN |  |  | Copy number probe.
WT |  |  | Wildtype probe. This probe detects the normal allele (wildtype sequence) of a mutation indicated in the “Additional information” column. A low probe read count can be due to a deletion or by the presence of the mutation. An increased probe read count indicates a duplication of the wildtype sequence.
MUT |  |  | Mutation-specific probe. This probe will only generate a read count when the mutation that is indicated in the “SNP/mutation details” column is present.
Probe warnings (if present for a probe)
Warning 1 (salt) |  |  | Probe located in or near a GC-rich region. A low probe read count can be caused by salt contamination of the DNA sample, leading to incomplete DNA denaturation, especially of GC-rich regions.
Warning 2 (more variable) |  |  | This probe showed a high standard deviation in our quality tests. Aberrant results should be treated with caution.
Warning 3 (pipetting) |  |  | More variable. This probe is more sensitive to certain experimental variations, in particular pipetting mistakes of the hybridisation master mix. Aberrant results should be treated with caution.
Warning 4 (low read count) |  |  | This probe showed a low read count in our quality tests. Aberrant results should be treated with caution.
Warning 5 (depurination-sensitive) |  |  | This probe can have a low read count in sample DNA that is depurinated. Sample DNA depurination is observed primarily in insufficiently buffered DNA samples and FFPE (Formalin Fixed, Paraffin Embedded) derived DNA samples.
Warning 6 (depurination-insensitive) |  |  | This probe can have an increased read count in sample DNA that is depurinated. Sample DNA depurination is observed primarily in insufficiently buffered DNA samples and FFPE (Formalin Fixed, Paraffin Embedded) derived DNA samples.
Warning 9 (SNP) |  |  | The SNP or mutation that is indicated in the “Additional information” column could influence the probe read count. In case of apparent deletions, it is recommended to sequence the region targeted by this probe.
Warning 12 (1 nt difference) |  |  | This probe’s specificity relies on a single nucleotide difference compared to a related gene or pseudogene. As a result, an apparent duplication of only this probe can be the result of a non-significant single nucleotide sequence change in the related gene or pseudogene.
Warning 13 (flanking) |  |  | Flanking probe. Included to help determine the extent of a deletion/duplication. Copy number alterations of only a flanking probe are unlikely to be related to the condition tested.
Warning 15 (non-coding) |  |  | The significance of deletions of this exon is not clear as this exon is non-coding and alternative transcript variants using other transcription start sites are known.
Changes in version C1 (indicated in the Probe number column)
* New in version C1.
¥ Changed in version C1. Minor alteration, no change in sequence detected.
Probe order | Probe number | Reference probe | Gene | Exon number | Position | Mapview (hg38)a | Probe type | Normal Copy Number | SNP/mutation details | LRV usedb | Warnings | Additional information
1 | S010444 | False | MSH2 | inv | Intron | chr02 | MUT | 0 | 10MBinv | Y | 5 (depurination-sensitive) | MSH2 10 Mb inversion (PMID24114314); This probe consists of three oligos and has two ligation sites.
2 | S010443 | False | MSH2 | inv | Intron | chr02 | MUT | 0 | 10MBinv | Y | 3 (pipetting); 5 (depurination-sensitive) | MSH2 10 Mb inversion (PMID24114314); This probe consists of three oligos and has two ligation sites.
3 | S010555 | False | MITF | 15 | Exon | chr03:069964919-069964969 | MUT | 0 | 952G>A | Y |  | Mutation also known as p.E318K (rs149617956).
4 | S010670 | False | PMS2 | 8 | Exon, ligation site ~70 nt before exon 8 | chr07:005995673-5995723 | MUT | 0 | SVA-ins | Y |  | PMS2 SVA element insertion (PMID22461402).
5 | S010117 | False | CHEK2 | 11 | Exon | chr22:028695842-028695912 | MUT | 0 | 1100delC | Y | 5 (depurination-sensitive) | Mutation also known as rs555607708; This probe consists of three oligos and has two ligation sites.
6 | S017541 | True | MUTYH | 16 | Exon | chr01:045329301-045329351 | CN | 2 |  | N
7 | S010463 | True | MUTYH | 15 | Exon | chr01:045330541-045330591 | CN | 2 |  | N
8 | S017542 | True | MUTYH | 14 | Exon | chr01:045331281-045331331 | CN | 2 |  | N
9 | S010465 | False | MUTYH | 13 | Exon | chr01:045331401-045331451 | CN | 2 |  | N
10 | S017543 | True | MUTYH | 12 | Exon, ligation site ~20 nt after exon 12 | chr01:045331631-045331681 | CN | 2 |  | N
11 | S010467 | True | MUTYH | 11 | Exon | chr01:045332061-045332111 | CN | 2 |  | N
12 | S010468 | False | MUTYH | 9 | Exon | chr01:045332401-045332451 | CN | 2 |  | N
13 | S017544 | False | MUTYH | 8 | Exon | chr01:045332571-045332621 | CN | 2 |  | N
14 | S010470 | True | MUTYH | 7 | Exon | chr01:045332811-045332861 | CN | 2 |  | N
15 | S010471 | True | MUTYH | 6 | Exon, ligation site ~10 nt before exon 6 | chr01:045332941-045332991 | CN | 2 |  | N
16 | S017545 | False | MUTYH | 5 | Exon | chr01:045333121-045333171 | CN | 2 |  | N
17 | S010473 | True | MUTYH | 4 | Exon, ligation site ~10 nt after exon 4 | chr01:045333251-045333301 | CN | 2 |  | N
18 | S010474 | True | MUTYH | 3 | Exon | chr01:045333471-045333521 | CN | 2 |  | N
19 | S017546 | True | MUTYH | 2 | Exon | chr01:045334391-045334441 | CN | 2 |  | N
20 | S010477 | False | MUTYH | 1 | Exon, ligation site in 5'UTR, ~50 nt before startcodon | chr01:045340291-045340341 | CN | 2 |  | N
21 | S010476 | True | MUTYH | 1 | Exon, ligation site in 5'UTR, ~170 nt before startcodon | chr01:045340401-045340451 | CN | 2 |  | N
22 | S018400 | False | EPCAM | 7 | Exon | chr02:047379757-047379807 | CN | 2 |  | N | 13 (flanking)
23 | S018399 | False | EPCAM | 8 | Exon | chr02:047385157-047385207 | CN | 2 |  | N | 13 (flanking)
24 | S017525 | False | EPCAM | 9 | Exon, ligation site in 3'UTR | chr02:047386637-047386687 | CN | 2 |  | N | 12 (1 nt difference) | Deletions of EPCAM exon 9 that include the transcription stop site can result in inactivation of MSH2 and cause Lynch syndrome (PMID19098912); ligation site in 3'UTR, ~50nt after translation stopcodon.
25 | S010417 | False | EPCAM | 9 | Exon, ligation site in 3'UTR | chr02:047386767-047386817 | CN | 2 |  | N |  | Deletions of EPCAM exon 9 that include the transcription stop site can result in inactivation of MSH2 and cause Lynch syndrome (PMID19098912); ligation site in 3'UTR, ~0.2 kb after translation stopcodon.
26 | S010418 | True | EPCAM | down | Ligation site ~3.1 kb after exon 9 | chr02:047390087-047390137 | CN | 2 |  | N | 13 (flanking)
27 | S010419 | True | MSH2 | up | Ligation site ~7.3 kb before exon 1 | chr02:047395687-047395737 | CN | 2 |  | N | 13 (flanking)
28 | S017526 | True | MSH2 | up | Ligation site ~4.3 kb before exon 1 | chr02:047398747-047398797 | CN | 2 |  | N | 13 (flanking)
29 | S010421 | False | MSH2 | 1 | Ligation site ~0.3 kb before exon 1 | chr02:047402787-047402837 | CN | 2 |  | N
30 | S017527 | False | MSH2 | 1 | Ligation site ~0.1 kb before exon 1 | chr02:047402977-047403027 | CN | 2 |  | N
31 | S018257 * | False | MSH2 | 1 | Exon | chr02:047403347-047403397 | CN | 2 |  | N
32 | S010423 | False | MSH2 | Intr. 1 | Intron, ligation site ~0.3 kb after exon 1 | chr02:047403647-047403697 | CN | 2 |  | N | 2 (more variable) | In validation experiments this probe has been found more variable with values between 0.66-0.75 in 1/450 samples.
33 | S010424 | False | MSH2 | 2 | Exon | chr02:047408467-047408517 | CN | 2 |  | N
34 | S017528 | False | MSH2 | 3 | Exon | chr02:047410157-047410207 | CN | 2 |  | N | 4 (low read count)
35 | S019420 * | True | MSH2 | 3 | Exon | chr02:047410237-047410287 | CN | 2 |  | N
36 | S010426 | False | MSH2 | 4 | Exon | chr02:047412477-047412527 | CN | 2 |  | N | 6 (depurination-insensitive)
37 | S017529 | False | MSH2 | 5 | Exon | chr02:047414277-047414327 | CN | 2 |  | N
38 | S010428 | True | MSH2 | 6 | Exon | chr02:047416327-047416377 | CN | 2 |  | N
39 | S017530 | True | MSH2 | 7 | Exon | chr02:047429757-047429807 | CN | 2 |  | N
40 | S010430 | True | MSH2 | 7 | Exon | chr02:047429847-047429897 | CN | 2 |  | N
41 | S017531 | True | MSH2 | 8 | Exon | chr02:047445567-047445617 | CN | 2 |  | N
42 | S010432 | True | MSH2 | 8 | Exon, ligation site ~20 nt after exon 8 | chr02:047445637-047445687 | CN | 2 |  | N
43 | S010433 | True | MSH2 | 9 | Exon | chr02:047463027-047463077 | CN | 2 |  | N
44 | S017532 | True | MSH2 | 10 | Exon | chr02:047466657-047466707 | CN | 2 |  | N
45 | S010435 | True | MSH2 | 11 | Exon | chr02:047470977-047471027 | CN | 2 |  | N
46 | S010436 | True | MSH2 | 12 | Exon | chr02:047475097-047475147 | CN | 2 |  | N
47 | S017533 | True | MSH2 | 13 | Exon | chr02:047476407-047476457 | CN | 2 |  | N
48 | S010438 | True | MSH2 | 14 | Exon | chr02:047478317-047478367 | CN | 2 |  | N
49 | S010439 | True | MSH2 | 15 | Exon | chr02:047480777-047480827 | CN | 2 |  | N
50 | S017534 | True | MSH2 | 16 | Exon | chr02:047482767-047482817 | CN | 2 |  | N
51 | S010441 | True | MSH2 | 16 | Exon, ligation site in 3'UTR, ~50 nt after stopcodon | chr02:047482967-047483017 | CN | 2 |  | N
52 | S010442 | True | MSH2 | down | Ligation site ~3.1 kb after exon 16 | chr02:047486347-047486397 | CN | 2 |  | N | 13 (flanking)
53 | S010671 | True | MSH6 | up | Ligation site ~6.5 kb before exon 1 | chr02:047776127-047776177 | CN | 2 |  | N |  | Putative regulatory region 6.5 kb before MSH6 exon 1 (PMID15942939).
54 | S010672 | True | MSH6 | up | Ligation site ~5.2 kb before exon 1 | chr02:047777827-047777877 | CN | 2 |  | N |  | Putative regulatory region 5.2 kb before MSH6 exon 1 (PMID15942939).
55 | S010445 | False | MSH6 | 1 | Ligation site ~0.2 kb before exon 1 | chr02:047782817-047782867 | CN | 2 |  | N | 3 (pipetting)
56 | S010446 | False | MSH6 | 1 | Exon, ligation site in 5'UTR, ~0.1 kb before startcodon | chr02:047783087-047783137 | CN | 2 |  | N | 3 (pipetting)
57 | S017535 | False | MSH6 | 1 | Exon | chr02:047783227-047783277 | CN | 2 |  | N
58 | S010448 | True | MSH6 | 2 | Exon | chr02:047790947-047790997 | CN | 2 |  | N
59 | S010449 | True | MSH6 | 2 | Exon | chr02:047791037-047791087 | CN | 2 |  | N
60 | S010450 | True | MSH6 | 3 | Exon | chr02:047796007-047796057 | CN | 2 |  | N
61 | S017536 | True | MSH6 | 4 | Exon | chr02:047798847-047798897 | CN | 2 |  | N
62 | S010452 | True | MSH6 | 4 | Exon | chr02:047799497-047799547 | CN | 2 |  | N
63 | S017537 | True | MSH6 | 4 | Exon | chr02:047800427-047800477 | CN | 2 |  | N
64 | S010454 | False | MSH6 | 5 | Exon | chr02:047803447-047803497 | CN | 2 |  | N
65 | S010455 | True | MSH6 | 5 | Exon | chr02:047803607-047803657 | CN | 2 |  | N
66 | S017538 | True | MSH6 | 6 | Exon | chr02:047804927-047804977 | CN | 2 |  | N
67 | S010457 | True | MSH6 | 7 | Exon | chr02:047805647-047805697 | CN | 2 |  | N
68 | S017539 | False | MSH6 | 8 | Exon | chr02:047806307-047806357 | CN | 2 |  | N
69 | S010459 | True | MSH6 | 9 | Exon | chr02:047806527-047806577 | CN | 2 |  | N
70 | S017540 | True | MSH6 | 10 | Exon, ligation site in 3'UTR, ~20 nt after stopcodon | chr02:047806837-047806887 | CN | 2 |  | N
71 | S010461 | True | MSH6 | down | Ligation site ~0.1 kb after exon 10 | chr02:047807027-047807077 | CN | 2 |  | N | 13 (flanking)
72 | S017562 | True | BARD1 | 11 | Exon, ligation site in 3'UTR, ~1.5 kb after stopcodon | chr02:214727161-214727211 | CN | 2 |  | N
73 | S010524 | True | BARD1 | 11 | Exon | chr02:214728851-214728901 | CN | 2 |  | N
74 | S010525 | True | BARD1 | 10 | Exon | chr02:214730441-214730491 | CN | 2 |  | N
75 | S017563 | True | BARD1 | 9 | Exon | chr02:214745091-214745141 | CN | 2 |  | N
76 | S010527 | True | BARD1 | 8 | Exon | chr02:214745761-214745811 | CN | 2 |  | N
77 | S010528 | True | BARD1 | 7 | Exon | chr02:214752481-214752531 | CN | 2 |  | N
78 | S017564 | True | BARD1 | 6 | Exon | chr02:214767571-214767621 | CN | 2 |  | N
79 | S010530 | False | BARD1 | 5 | Exon | chr02:214769241-214769291 | CN | 2 |  | N
80 | S010531 | True | BARD1 | 4 | Exon | chr02:214780871-214780921 | CN | 2 |  | N
81 | S017565 | False | BARD1 | 4 | Exon | chr02:214781441-214781491 | CN | 2 |  | N
82 | S010533 | False | BARD1 | 3 | Exon | chr02:214792311-214792361 | CN | 2 |  | N | 2 (more variable) | In validation experiments this probe has been found more variable with values between 0.66-0.78 in 1/250 samples.
83 | S010534 | True | BARD1 | 2 | Exon | chr02:214797051-214797101 | CN | 2 |  | N
84 | S017607 | False | BARD1 | 1 | Exon | chr02:214809481-214809531 | CN | 2 |  | N
85 | S010536 | False | BARD1 | up | Ligation site ~1.3 kb before exon 1 | chr02:214810961-214811011 | CN | 2 |  | N | 6 (depurination-insensitive); 13 (flanking)
86 | S010537 | True | BARD1 | up | Ligation site ~1.7 kb before exon 1 | chr02:214811371-214811421 | CN | 2 |  | N | 13 (flanking)
87 | S010392 | False | MLH1 | up | Ligation site ~0.5 kb before exon 1 | chr03:036992875-036992925 | CN | 2 |  | N | 2 (more variable) | In validation experiments we have observed 1.2-1.4 ratios in exon 1 probes, including MLH1 probes, in 1/750 samples. Often these deviations were seen together with deviations of ATM and BAP1 exon 1 probes.
88 | S010393 | False | MLH1 | 1 | Ligation site ~50 nt before exon 1 | chr03:036993285-036993335 | CN | 2 |  | N | 2 (more variable); 9 (SNP) | In validation experiments we have observed 1.2-1.4 ratios in exon 1 probes, including MLH1 probes, in 1/750 samples. Often these deviations were seen together with deviations of ATM and BAP1 exon 1 probes.
89 | S010394 | False | MLH1 | 1 | Exon | chr03:036993535-036993585 | CN | 2 |  | N | 2 (more variable) | In validation experiments we have observed 1.2-1.4 ratios in exon 1 probes, including MLH1 probes, in 1/750 samples. Often these deviations were seen together with deviations of ATM and BAP1 exon 1 probes.
90 | S010395 | True | MLH1 | 2 | Exon | chr03:036996665-036996715 | CN | 2 |  | N
91 | S017518 | True | MLH1 | 3 | Exon | chr03:037000995-037001045 | CN | 2 |  | N
92 | S010397 | True | MLH1 | 4 | Exon | chr03:037004405-037004455 | CN | 2 |  | N
93 | S017519 | True | MLH1 | 5 | Exon | chr03:037007015-037007065 | CN | 2 |  | N
94 | S010399 | True | MLH1 | 6 | Exon | chr03:037008805-037008855 | CN | 2 |  | N
95 | S010400 | True | MLH1 | 7 | Exon | chr03:037011825-037011875 | CN | 2 |  | N
96 | S017520 | True | MLH1 | 8 | Exon | chr03:037012025-037012075 | CN | 2 |  | N
97 | S010402 | True | MLH1 | 9 | Exon | chr03:037014455-037014505 | CN | 2 |  | N
98 | S010403 | True | MLH1 | 9 | Exon, ligation site ~0.1 kb after exon 9 | chr03:037014575-037014625 | CN | 2 |  | N
99 | S010404 | True | MLH1 | 10 | Exon | chr03:037017515-037017565 | CN | 2 |  | N
100 | S017521 | True | MLH1 | 11 | Exon | chr03:037020395-037020445 | CN | 2 |  | N
101 | S010406 | True | MLH1 | 12 | Exon | chr03:037025665-037025715 | CN | 2 |  | N
102 | S017522 | True | MLH1 | 12 | Exon | chr03:037025855-037025905 | CN | 2 |  | N
103 | S010408 | True | MLH1 | 13 | Exon | chr03:037028815-037028865 | CN | 2 |  | N
104 | S010409 | True | MLH1 | 14 | Exon | chr03:037040205-037040255 | CN | 2 |  | N
105 | S017523 | True | MLH1 | 15 | Exon | chr03:037042255-037042305 | CN | 2 |  | N
106 | S010411 | False | MLH1 | 16 | Exon | chr03:037047535-037047585 | CN | 2 |  | N
107 | S010412 | True | MLH1 | 17 | Exon | chr03:037048575-037048625 | CN | 2 |  | N
108 | S017524 | False | MLH1 | 18 | Exon | chr03:037048955-037049005 | CN | 2 |  | N
109 | S010414 | False | MLH1 | 19 | Exon | chr03:037050555-037050605 | CN | 2 |  | N
110 | S010415 | True | MLH1 | 19 | Exon, ligation site in 3'UTR, ~0.1 kb after stopcodon | chr03:037050745-037050795 | CN | 2 |  | N
111 | S017566 | False | BAP1 | 17 | Exon, ligation site in 3'UTR, ~0.15 kb after stopcodon | chr03:052402104-052402154 | CN | 2 |  | N
112 | S010539 | True | BAP1 | 16 | Exon | chr03:052402644-052402694 | CN | 2 |  | N
113 | S010540 | True | BAP1 | 15 | Exon | chr03:052402824-052402874 | CN | 2 |  | N
114 | S017567 | True | BAP1 | 14 | Exon | chr03:052403114-052403164 | CN | 2 |  | N
115 | S010542 | False | BAP1 | 13 | Exon | chr03:052403534-052403584 | CN | 2 |  | N
116 | S010543 | True | BAP1 | 12 | Exon | chr03:052404514-052404564 | CN | 2 |  | N
117 | S010544 | True | BAP1 | 11 | Exon | chr03:052405084-052405134 | CN | 2 |  | N
118 | S017568 | True | BAP1 | 10 | Exon | chr03:052405844-052405894 | CN | 2 |  | N
119 | S010546 | False | BAP1 | 9 | Exon | chr03:052406314-052406364 | CN | 2 |  | N
120 | S019414 * | True | BAP1 | 8 | Exon | chr03:052406884-052406934 | CN | 2 |  | N
121 | S010548 | True | BAP1 | 7 | Exon | chr03:052407244-052407294 | CN | 2 |  | N
122 | S010549 | False | BAP1 | 6 | Exon | chr03:052407434-052407484 | CN | 2 |  | N | 2 (more variable) | In validation experiments this probe has been found more variable with values between 0.71-0.77 in 1/450 samples.
123 | S017569 | True | BAP1 | 5 | Exon | chr03:052408054-052408104 | CN | 2 |  | N
124 | S010551 | True | BAP1 | 4 | Exon | chr03:052408484-052408534 | CN | 2 |  | N
125 | S019417 ¥ | True | BAP1 | 3 | Exon | chr03:052409554-052409604 | CN | 2 |  | N
126 | S010554 | False | BAP1 | 1 | Exon | chr03:052409844-052409894 | CN | 2 |  | N | 2 (more variable); 3 (pipetting) | In validation experiments we have observed 1.2-1.4 ratios in exon 1 probes, including BAP1 exon 1 and exon 3 probes, in 1/750 samples. Often these deviations were seen together with deviations of ATM and MLH1 exon 1 probes.
127 | S017550 | False | APC | 1 | Exon | chr05:112707484-112707534 | CN | 2 |  | N | 15 (non-coding) | More information on this non-coding exon: PMID25243319.
128 | S010489 | False | APC | 1 | Exon | chr05:112707744-112707794 | CN | 2 |  | N | 15 (non-coding) | More information on this non-coding exon: PMID25243319.
129 | S019397 ¥ | False | APC | 1 | Exon | chr05:112707804-112707854 | CN | 2 |  | N | 3 (pipetting); 15 (non-coding) | More information on this non-coding exon: PMID25243319.
130 | S010491 | True | APC | 2 | Exon, ligation site ~30 nt before exon 2 | chr05:112737814-112737864 | CN | 2 |  | N | 15 (non-coding)
131 | S010492 | False | APC | 2 | Exon | chr05:112737884-112737934 | CN | 2 |  | N | 6 (depurination-insensitive); 15 (non-coding)
132 | S017552 | False | APC | 3 | Exon, ligation site ~20 nt before exon 3 | chr05:112738324-112738374 | CN | 2 |  | N | 15 (non-coding)
133 | S010494 | True | APC | 3 | Exon | chr05:112738394-112738444 | CN | 2 |  | N | 15 (non-coding)
134 | S010495 | False | APC | 4 | Exon | chr05:112754894-112754944 | CN | 2 |  | N
135 | S017553 | False | APC | 4 | Exon, ligation site ~40 nt after exon 4 | chr05:112755034-112755084 | CN | 2 |  | N | 5 (depurination-sensitive)
136 | S010497 | False | APC | 5 | Exon | chr05:112766354-112766404 | CN | 2 |  | N
137 | S010498 | True | APC | 6 | Exon | chr05:112767164-112767214 | CN | 2 |  | N
138 | S017554 | True | APC | 7 | Exon | chr05:112775664-112775714 | CN | 2 |  | N
139 | S010500 | True | APC | Intr. 7 | Intron, ligation site ~0.1 kb before exon 8 | chr05:112780654-112780704 | CN | 2 |  | N
140 | S010501 | True | APC | 8 | Exon | chr05:112780884-112780934 | CN | 2 |  | N
141 | S010503 | True | APC | 9 | Exon | chr05:112792444-112792494 | CN | 2 |  | N
142 | S010504 | True | APC | Intr. 9 | Intron, ligation site ~0.3 kb before exon 10 | chr05:112800934-112800984 | CN | 2 |  | N |  | In case probe S017555 shows a copy number change, this probe can confirm the result. In case only S010504 shows a copy number change, the aberration has a high chance of not being clinically significant.
143 | S017555 | True | APC | 10 | Exon | chr05:112801284-112801334 | CN | 2 |  | N
144 | S010506 | True | APC | 11 | Exon | chr05:112815554-112815604 | CN | 2 |  | N
145 | S010507 | False | APC | 12 | Exon | chr05:112819064-112819114 | CN | 2 |  | N
146 | S010508 | False | APC | 13 | Exon | chr05:112821924-112821974 | CN | 2 |  | N
147 | S017556 | True | APC | 14 | Exon | chr05:112827214-112827264 | CN | 2 |  | N
148 | S010510 | True | APC | 15 | Exon | chr05:112827914-112827964 | CN | 2 |  | N
149 | S017557 | False | APC | 16 | Exon | chr05:112828904-112828954 | CN | 2 |  | N | 6 (depurination-insensitive)
150 | S010512 | True | APC | 17 | Exon | chr05:112835064-112835114 | CN | 2 |  | N
151 | S010513 | False | APC | 18 | Exon | chr05:112837634-112837684 | CN | 2 |  | N
152 | S017558 | False | APC | 18 | Exon | chr05:112838314-112838364 | CN | 2 |  | N
153 | S010515 | False | APC | 18 | Exon | chr05:112839124-112839174 | CN | 2 |  | N
154 | S017559 | False | APC | 18 | Exon | chr05:112840144-112840194 | CN | 2 |  | N
155 | S010517 | False | APC | 18 | Exon | chr05:112840664-112840714 | CN | 2 |  | N | 6 (depurination-insensitive)
156 | S017560 | True | APC | 18 | Exon | chr05:112841814-112841864 | CN | 2 |  | N
157 | S010519 | True | APC | 18 | Exon | chr05:112842534-112842584 | CN | 2 |  | N
158 | S017561 | True | APC | 18 | Exon | chr05:112843234-112843284 | CN | 2 |  | N | 3 (pipetting)
159 | S010521 | True | APC | 18 | Exon | chr05:112843794-112843844 | CN | 2 |  | N
160 | S010522 | True | APC | 18 | Exon, ligation site in 3'UTR, ~2 kb after stopcodon | chr05:112846134-112846184 | CN | 2 |  | N
161 | S010081 | False | PMS2 | 15 | Exon | chr07:005973453-005973503 | CN | 4 |  | N |  | Detects PMS2 and PMS2CL: 4 copies/cell. Heterozygous deletions/duplications of either PMS2 (clinically relevant) or PMS2CL (clinically not relevant) result in a 0.75 or 1.25 value. Additional experiments are required to determine whether a copy number change is in PMS2 or PMS2CL.
162 | S010664 | False | PMS2 | 15 | Exon | chr07:005973513-005973563 | CN | 4 |  | N |  | Detects PMS2 and PMS2CL: 4 copies/cell. Heterozygous deletions/duplications of either PMS2 (clinically relevant) or PMS2CL (clinically not relevant) result in a 0.75 or 1.25 value. Additional experiments are required to determine whether a copy number change is in PMS2 or PMS2CL.
163 | S010082 | False | PMS2 | 14 | Exon, ligation site ~70 nt after exon 14 | chr07:005977503-005977553 | CN | 4 |  | N |  | Detects PMS2 and PMS2CL: 4 copies/cell. Heterozygous deletions/duplications of either PMS2 (clinically relevant) or PMS2CL (clinically not relevant) result in a 0.75 or 1.25 value. Additional experiments are required to determine whether a copy number change is in PMS2 or PMS2CL.
164 | S010083 | False | PMS2 | 14 | Exon | chr07:005977583-005977633 | CN | 4 |  | N |  | Detects PMS2 and PMS2CL: 4 copies/cell. Heterozygous deletions/duplications of either PMS2 (clinically relevant) or PMS2CL (clinically not relevant) result in a 0.75 or 1.25 value. Additional experiments are required to determine whether a copy number change is in PMS2 or PMS2CL.
165 | S010088 | False | PMS2 | 13 | Exon, ligation site ~20 nt before exon 13 | chr07:005978693-005978743 | CN | 4 |  | N |  | Detects PMS2 and PMS2CL: 4 copies/cell. Heterozygous deletions/duplications of either PMS2 (clinically relevant) or PMS2CL (clinically not relevant) result in a 0.75 or 1.25 value. Additional experiments are required to determine whether a copy number change is in PMS2 or PMS2CL.
166 | S010668 | False | PMS2 | 12 | Exon, ligation site ~20 nt after exon 12 | chr07:005982793-005982843 | CN | 4 |  | N |  | Detects PMS2 and PMS2CL: 4 copies/cell. Heterozygous deletions/duplications of either PMS2 (clinically relevant) or PMS2CL (clinically not relevant) result in a 0.75 or 1.25 value. Additional experiments are required to determine whether a copy number change is in PMS2 or PMS2CL.
167 | S010091 | False | PMS2 | 12 | Exon | chr07:005982883-005982933 | CN | 4 |  | N |  | Detects PMS2 and PMS2CL: 4 copies/cell. Heterozygous deletions/duplications of either PMS2 (clinically relevant) or PMS2CL (clinically not relevant) result in a 0.75 or 1.25 value. Additional experiments are required to determine whether a copy number change is in PMS2 or PMS2CL.
168 | S010092 | False | PMS2 | 11 | Exon | chr07:005986873-005986923 | CN | 2 |  | N | 12 (1 nt difference)
169 | S017421 | False | PMS2 | 11 | Exon | chr07:005987373-005987423 | CN | 2 |  | N | 4 (low read count); 12 (1 nt difference)
170 | S010096 | False | PMS2 | 10 | Exon | chr07:005989813-005989863 | CN | 2 |  | N
171 | S010097 | False | PMS2 | 10 | Exon | chr07:005989903-005989953 | CN | 2 |  | N
172 | S017422 | False | PMS2 | 9 | Exon | chr07:005992003-005992053 | CN | 2 |  | N | 12 (1 nt difference)
173 | S010099 | False | PMS2 | 9 | Exon, ligation site ~30 nt before exon 9 | chr07:005992063-005992113 | CN | 2 |  | N | 12 (1 nt difference)
174 | S010100 | True | PMS2 | 8 | Exon | chr07:005995553-005995603 | CN | 2 |  | N
175 | S017606 | False | PMS2 | 8 | Exon, ligation site ~70 nt before exon 8 | chr07:005995673-005995723 | CN,WT | 2 | wt-SVA-ins | N |  | WT sequence at intron 7 SVA element insertion (PMID22461402). Lower probe read counts can be due to either a deletion of this sequence, or to insertion of an SVA element. Also check probe S010670.
176 | S010666 | True | PMS2 | 7 | Exon, ligation site ~40 nt after exon 7 | chr07:005997243-005997293 | CN | 2 |  | N
177 | S010101 | False | PMS2 | 7 | Exon | chr07:005997343-005997393 | CN | 2 |  | N
178 | S017423 | True | PMS2 | 6 | Exon | chr07:005999163-005999213 | CN | 2 |  | N
179 | S010103 | False | PMS2 | 6 | Exon | chr07:005999213-005999263 | CN | 2 |  | N
180 | S011007 | False | PMS2 | 5 | Exon | chr07:006002493-006002543 | CN | 2 |  | N | 12 (1 nt difference)
181 | S010105 | False | PMS2 | 5 | Exon | chr07:006002553-006002603 | CN | 2 |  | N | 3 (pipetting); 12 (1 nt difference)
182 | S017424 | False | PMS2 | 4 | Exon, ligation site ~80 nt after exon 4 | chr07:006003583-006003633 | CN | 2 |  | N | 12 (1 nt difference)
183 | S010131 | False | PMS2 | 3 | Exon, ligation site ~80 nt after exon 3 | chr07:006003863-006003913 | CN | 2 |  | N | 12 (1 nt difference)
184 | S017425 | False | PMS2 | Intr. 2 | Intron, ligation site ~0.15 kb before exon 3 | chr07:006004173-006004223 | CN | 2 |  | N | 12 (1 nt difference)
185 | S010108 | False | PMS2 | 2 | Exon | chr07:006005913-006005963 | CN | 2 |  | N | 12 (1 nt difference)
186 | S010109 | False | PMS2 | 2 | Exon, ligation site ~10 nt before exon 2 | chr07:006006013-006006063 | CN | 2 |  | N | 12 (1 nt difference)
187 | S017431 | False | PMS2 | 1 | Exon | chr07:006009063-006009113 | CN | 2 |  | N | 12 (1 nt difference)
188 | S010111 | False | PMS2 | 1 | Ligation site ~0.2 kb before exon 1 | chr07:006009303-006009353 | CN | 2 |  | N
189 | S017571 | True | NBN | 16 | Exon, ligation site in 3'UTR, ~1.4 kb after stopcodon | chr08:089934156-089934206 | CN | 2 |  | N
190 | S010557 | True | NBN | 16 | Exon, ligation site in 3'UTR, ~50 nt after stopcodon | chr08:089935506-089935556 | CN | 2 |  | N
191 | S017572 | True | NBN | 15 | Exon, ligation site ~10 nt after exon 15 | chr08:089936996-089937046 | CN | 2 |  | N
192 | S010559 | True | NBN | 14 | Exon | chr08:089943296-089943346 | CN | 2 |  | N
193 | S017573 | True | NBN | 13 | Exon | chr08:089946216-089946266 | CN | 2 |  | N
194 | S010561 | True | NBN | 12 | Exon | chr08:089947786-089947836 | CN | 2 |  | N
195 | S010562 | True | NBN | 11 | Exon | chr08:089953466-089953516 | CN | 2 |  | N
196 | S017574 | True | NBN | 10 | Exon | chr08:089955416-089955466 | CN | 2 |  | N
197 | S010564 | False | NBN | 9 | Exon | chr08:089958746-089958796 | CN | 2 |  | N
198 | S010565 | True | NBN | 8 | Exon | chr08:089964416-089964466 | CN | 2 |  | N
199 | S017575 | True | NBN | 7 | Exon | chr08:089970376-089970426 | CN | 2 |  | N
200 | S010567 | False | NBN | 6 | Exon | chr08:089971236-089971286 | CN | 2 |  | N
201 | S010568 | True | NBN | 5 | Exon | chr08:089978256-089978306 | CN | 2 |  | N
202 | S017576 | True | NBN | 4 | Exon | chr08:089980846-089980896 | CN | 2 |  | N
203 | S010570 | True | NBN | 3 | Exon | chr08:089981456-089981506 | CN | 2 |  | N
204 | S010571 | True | NBN | 2 | Exon | chr08:089982796-089982846 | CN | 2 |  | N
205 | S019401 ¥ | False | NBN | 1 | Exon, ligation site in 5'UTR, ~60 nt before startcodon. | chr08:089984596-089984646 | CN | 2 |  | N
206 | S010574 | True | NBN | up | Ligation site ~1.7 kb before exon 1 | chr08:089986336-089986386 | CN | 2 |  | N | 13 (flanking)
207 | S010615 | False | CDKN2A | down | Ligation site ~0.2 kb after exon 4 | chr09:021967541-021967591 | CN | 2 |  | N | 13 (flanking) | Exon coding for p16INK4A (NM_000077.4) and p14ARF (NM_058195.3).
208 | S010616 | False | CDKN2A | 4 | Exon | chr09:021968051-021968101 | CN | 2 |  | N |  | Exon coding for p16INK4A (NM_000077.4) and p14ARF (NM_058195.3).
209 | S010617 | False | CDKN2A | 4 | Exon | chr09:021968191-021968241 | CN | 2 |  | N |  | Exon coding for p16INK4A (NM_000077.4) and p14ARF (NM_058195.3).
210 | S017590 | False | CDKN2A | Intr. 3 | Intron, ligation site ~0.4 kb before exon 4 | chr09:021968581-021968631 | CN | 2 |  | N |  | In alternative exon coding for p16gamma (NM_001195132.1).
211 | S010619 | False | CDKN2A | Intr. 3 | Intron, ligation site ~0.4 kb before exon 4 | chr09:021968671-021968721 | CN | 2 |  | N | 3 (pipetting) | In alternative exon coding for p16gamma (NM_001195132.1).
212 | S017591 | False | CDKN2A | 3 | Exon | chr09:021970931-021970981 | CN | 2 |  | N | 6 (depurination-insensitive) | Exon coding for p16INK4A (NM_000077.4) and p14ARF (NM_058195.3).
213 | S010621 | False | CDKN2A | 3 | Exon, ligation site ~50 nt before exon 3 | chr09:021971231-021971281 | CN | 2 |  | N |  | Exon coding for p16INK4A (NM_000077.4) and p14ARF (NM_058195.3).
214 | S010622 | False | CDKN2A | 2 | Exon | chr09:021974681-021974731 | CN | 2 |  | N | 3 (pipetting) | Exon coding for p16INK4A (NM_000077.4).
215 | S010624 | False | CDKN2A | 2 | Exon | chr09:021974971-021975021 | CN | 2 |  | N |  | Exon coding for p16INK4A (NM_000077.4).
216 | S017592 | False | CDKN2A | Intr. 1 | Intron, ligation site ~0.1 kb before exon 2 | chr09:021975211-021975261 | CN | 2 |  | N |  | Exon coding for p16INK4A (NM_000077.4).
217 | S010627 | False | CDKN2A | 1 | Exon, ligation site in 5'UTR ~80 nt before startcodon | chr09:021994391-021994441 | CN | 2 |  | N | 6 (depurination-insensitive) | Exon coding for p14ARF (NM_058195.3).
218 | S017593 | False | CDKN2A | 1 | Exon, ligation site ~80 nt before exon 1 | chr09:021994551-021994601 | CN | 2 |  | N | 3 (pipetting) | Exon coding for p14ARF (NM_058195.3).
219 | S010629 | False | CDKN2A | up | Ligation site ~0.8 kb before exon 1 | chr09:021995291-021995341 | CN | 2 |  | N | 6 (depurination-insensitive) | Exon coding for p14ARF (NM_058195.3)
220 | S010302 | False | BMPR1A | up | Ligation site ~1.5 kb before non-coding exon 1 | chr10:086755083-086755133 | CN | 2 |  | N | 13 (flanking) | Included only to delineate the extent of BMPR1A copy number changes.
221 | S019396 * | False | BMPR1A | 1 | Exon | chr10:086756653-086756703 | CN | 2 |  | N | 12 (1 nt difference)
222 | S017490 | False | BMPR1A | 1 | Exon, ligation site ~30 nt after non-coding exon 1 | chr10:086756933-086756983 | CN | 2 |  | N | 2 (more variable); 6 (depurination-insensitive); 15 (non-coding) | In validation experiments this probe has been found more variable with values between 1.21-1.65 in 7/1700 samples. Disregard deletion/duplication when S019396 shows normal results.
223 | S010305 | True | BMPR1A | 2 | Exon, ligation site ~60 nt before non-coding exon 2 | chr10:086838793-086838843 | CN | 2 |  | N | 15 (non-coding)
224 | S010306 | False | BMPR1A | 2 | Exon | chr10:086838923-086838973 | CN | 2 |  | N | 12 (1 nt difference); 15 (non-coding)
225 | S011011 | True | BMPR1A | Intr. 2 | Intron, ligation site ~4.3 kb after exon 2 | chr10:086843303-086843353 | CN | 2 |  | N |  | This probe is within a putative promoter region (PMID20843829). Clinical relevance is uncertain.
226 | S011010 | True | BMPR1A | Intr. 2 | Intron, ligation site ~4.5 kb after exon 2 | chr10:086843453-086843503 | CN | 2 |  | N |  | This probe is within a putative promoter region (PMID20843829). Clinical relevance is uncertain.
227 | S017491 | False | BMPR1A | 3 | Exon, ligation site in 5'UTR, ~80 nt before startcodon | chr10:086875923-086875973 | CN | 2 |  | N | 12 (1 nt difference)
228 | S010308 | False | BMPR1A | 4 | Exon | chr10:086890153-086890203 | CN | 2 |  | N | 12 (1 nt difference)
229 | S010309 | True | BMPR1A | 5 | Exon | chr10:086892203-086892253 | CN | 2 |  | N
230 | S017492 | False | BMPR1A | 6 | Exon | chr10:086899773-086899823 | CN | 2 |  | N
231 | S010311 | False | BMPR1A | 7 | Exon | chr10:086900073-086900123 | CN | 2 |  | N
232 | S010312 | True | BMPR1A | 8 | Exon | chr10:086912363-086912413 | CN | 2 |  | N
233 | S017493 | True | BMPR1A | 9 | Exon | chr10:086917103-086917153 | CN | 2 |  | N
234 | S010314 | True | BMPR1A | 10 | Exon | chr10:086919443-086919493 | CN | 2 |  | N
235 | S010315 | True | BMPR1A | 11 | Exon | chr10:086921673-086921723 | CN | 2 |  | N
236 | S017494 | False | BMPR1A | 12 | Exon | chr10:086923353-086923403 | CN | 2 |  | N | 3 (pipetting)
237 | S010318 | False | BMPR1A | 13 | Exon, ligation site in 3'UTR, ~0.5 kb after stopcodon | chr10:086924183-086924233 | CN | 2 |  | N | 12 (1 nt difference)
238 | S019415 ¥ | False | KLLN | 1 | Exon, ligation site in the KLLN gene, ~0.8 kb before PTEN exon 1 | chr10:087862613-087862663 | CN | 2 |  | N | 6 (depurination-insensitive) | Clinical significance of CNVs in this PTEN upstream region is unknown.
239 | S010593 | False | KLLN | 1 | Exon, ligation site in the KLLN gene, ~0.65 kb before PTEN exon 1 | chr10:087862753-087862803 | CN | 2 |  | N | 6 (depurination-insensitive) | Clinical significance of CNVs in this PTEN upstream region is unknown.
240 | S010594 | False | KLLN | 1 | Exon, ligation site in the KLLN gene, ~0.1 kb before PTEN exon 1 | chr10:087863343-087863393 | CN | 2 |  | N |  | Clinical significance of CNVs in this PTEN upstream region is unknown.
241 | S010595 | False | PTEN | 1 | Exon, ligation site in 5'UTR, ~0.8 kb before startcodon | chr10:087863613-087863663 | CN | 2 |  | N
242 | S017582 | False | PTEN | 1 | Exon, ligation site in 5'UTR, ~60 nt before startcodon | chr10:087864383-087864433 | CN | 2 |  | N | 12 (1 nt difference)
243 | S010597 | True | PTEN | 1 | Exon, ligation site ~10 nt after exon 1 | chr10:087864533-087864583 | CN | 2 |  | N
244 | S017583 | False | PTEN | 2 | Exon | chr10:087893993-087894043 | CN | 2 |  | N
245 | S010599 | False | PTEN | Intr. 2 | Intron, ligation site ~0.2 kb after exon 2 | chr10:087894293-087894343 | CN | 2 |  | N
246 | S010600 | True | PTEN | Intr. 2 | Intron, ligation site ~0.15 kb before exon 3 | chr10:087925343-087925393 | CN | 2 |  | N
247 | S017584 | True | PTEN | 3 | Exon, ligation site ~30 nt after exon 3 | chr10:087925553-087925603 | CN | 2 |  | N
248 | S010602 | True | PTEN | 4 | Exon, ligation site ~10 nt before exon 4 | chr10:087931003-087931053 | CN | 2 |  | N | 9 (SNP) | Presence of the likely benign rs587780544 variation (c.210-7_210-3delCTTTT; frequency between 1:500 and 1:3000) will result in false positive deletions. PTEN exon 4 deletions are likely only when both exon 4 probes show a deletion (S017585 and S010602).
249 | S017585 | True | PTEN | 4 | Exon, ligation site ~60 nt after exon 4 | chr10:087931123-087931173 | CN | 2 |  | N |  | PTEN exon 4 deletions are likely only when both exon 4 probes show a deletion (S017585 and S010602).
250 | S010604 | False | PTEN | 5 | Exon | chr10:087933143-087933193 | CN | 2 |  | N | 12 (1 nt difference)
251 | S017586 | True | PTEN | 5 | Exon, ligation site ~10 nt after exon 5 | chr10:087933233-087933283 | CN | 2 |  | N
252 | S010606 | False | PTEN | 6 | Exon | chr10:087952143-087952193 | CN | 2 |  | N | 12 (1 nt difference)
253 | S017587 | True | PTEN | 6 | Exon | chr10:087952223-087952273 | CN | 2 |  | N
254 | S010608 | False | PTEN | 7 | Exon | chr10:087957903-087957953 | CN | 2 |  | N | 12 (1 nt difference)
255 | S010609 | True | PTEN | 7 | Exon, ligation site ~10 nt after exon 7 | chr10:087957993-087958043 | CN | 2 |  | N
256 | S017588 | False | PTEN | 8 | Exon | chr10:087961013-087961063 | CN | 2 |  | N | 12 (1 nt difference)
257 | S010611 | False | PTEN | 8 | Exon, ligation site ~50 nt after exon 8 | chr10:087961143-087961193 | CN | 2 |  | N | 12 (1 nt difference)
258 | S010612 | True | PTEN | 9 | Exon, ligation site ~10 nt before exon 9 | chr10:087965253-087965303 | CN | 2 |  | N
259 | S017589 | False | PTEN | 9 | Exon, ligation site in 3'UTR, ~0.1 kb after stopcodon | chr10:087965563-087965613 | CN | 2 |  | N | 12 (1 nt difference)
260 | S010614 | False | PTEN | 9 | Exon, ligation site in 3'UTR, ~0.9 kb after stopcodon | chr10:087966393-087966443 | CN | 2 |  | N | 12 (1 nt difference)
261 | S010235 | False | ATM | up | Ligation site ~1.3 kb before exon 1 | chr11:108221483-108221533 | CN | 2 |  | N | 13 (flanking)
262 | S010236 | False | ATM | 1 | Exon | chr11:108222833-108222883 | CN | 2 |  | N | 2 (more variable); 15 (non-coding) | In validation experiments we have observed 1.2-1.4 ratios in exon 1 probes, including both ATM exon 1 probes, in 1/750 samples. Often these deviations were seen together with deviations of BAP1 and MLH1 exon 1 probes.
263 | S017466 | False | ATM | 1 | Exon | chr11:108222983-108223033 | CN | 2 |  | N | 2 (more variable); 15 (non-coding) | In validation experiments we have observed 1.2-1.4 ratios in exon 1 probes, including both ATM exon 1 probes, in 1/750 samples. Often these deviations were seen together with deviations of BAP1 and MLH1 exon 1 probes.
264 | S010238 | False | ATM | 2 | Exon | chr11:108227603-108227653 | CN | 2 |  | N
265 | S010239 | False | ATM | 3 | Exon | chr11:108227753-108227803 | CN | 2 |  | N
266 | S017467 | False | ATM | 4 | Exon | chr11:108229203-108229253 | CN | 2 |  | N
267 | S010241 | False | ATM | 5 | Exon | chr11:108235743-108235793 | CN | 2 |  | N
268 | S010242 | True | ATM | 6 | Exon | chr11:108244033-108244083 | CN | 2 |  | N
269 | S010243 | False | ATM | 7 | Exon | chr11:108244863-108244913 | CN | 2 |  | N
270 | S017468 | False | ATM | 8 | Exon | chr11:108247093-108247143 | CN | 2 |  | N
271 | S010245 | False | ATM | 9 | Exon | chr11:108249023-108249073 | CN | 2 |  | N
272 | S017469 | False | ATM | 10 | Exon | chr11:108250753-108250803 | CN | 2 |  | N
273 | S010247 | False | ATM | 11 | Exon | chr11:108251833-108251883 | CN | 2 |  | N
274 | S010248 | False | ATM | 12 | Exon | chr11:108252793-108252843 | CN | 2 |  | N
275 | S017470 | True | ATM | 13 | Exon | chr11:108253813-108253863 | CN | 2 |  | N
276 | S010250 | False | ATM | 14 | Exon | chr11:108256253-108256303 | CN | 2 |  | N
277 | S017471 | False | ATM | 15 | Exon | chr11:108257553-108257603 | CN | 2 |  | N
278 | S010252 | False | ATM | 16 | Exon | chr11:108259033-108259083 | CN | 2 |  | N
279 | S017472 | False | ATM | 17 | Exon | chr11:108267183-108267233 | CN | 2 |  | N
280 | S010254 | False | ATM | 18 | Exon | chr11:108268513-108268563 | CN | 2 |  | N
281 | S017473 | False | ATM | 19 | Exon | chr11:108271053-108271103 | CN | 2 |  | N
282 | S010256 | True | ATM | 20 | Exon | chr11:108271283-108271333 | CN | 2 |  | N
283 | S010257 | True | ATM | 21 | Exon | chr11:108272533-108272583 | CN | 2 |  | N
284 | S017474 | False | ATM | 22 | Exon | chr11:108272773-108272823 | CN | 2 |  | N
285 | S010259 | True | ATM | 23 | Exon | chr11:108279523-108279573 | CN | 2 |  | N
286 | S010260 | True | ATM | 24 | Exon | chr11:108281123-108281173 | CN | 2 |  | N
287 | S017475 | False | ATM | 25 | Exon | chr11:108282693-108282743 | CN | 2 |  | N
288 | S010262 | False | ATM | 26 | Exon | chr11:108284243-108284293 | CN | 2 |  | N
289 | S010263 | False | ATM | 27 | Exon | chr11:108287603-108287653 | CN | 2 |  | N
290 | S017476 | False | ATM | 28 | Exon, ligation site ~10 nt before exon 28 | chr11:108288943-108288993 | CN | 2 |  | N | 12 (1 nt difference)
291 | S010265 | False | ATM | 29 | Exon | chr11:108289573-108289623 | CN | 2 |  | N
292 | S010266 | True | ATM | 30 | Exon | chr11:108292703-108292753 | CN | 2 |  | N
293 | S017477 | True | ATM | 31 | Exon | chr11:108293393-108293443 | CN | 2 |  | N
294 | S010268 | True | ATM | 32 | Exon | chr11:108294943-108294993 | CN | 2 |  | N
295 | S010269 | False | ATM | 33 | Exon | chr11:108297293-108297343 | CN | 2 |  | N
296 | S010270 | False | ATM | 34 | Exon | chr11:108299693-108299743 | CN | 2 |  | N
297 | S017478 | True | ATM | 35 | Exon | chr11:108301693-108301743 | CN | 2 |  | N
298 | S010272 | True | ATM | 36 | Exon | chr11:108302973-108303023 | CN | 2 |  | N
299 | S017479 | False | ATM | 37 | Exon | chr11:108304743-108304793 | CN | 2 |  | N
300 | S010274 | True | ATM | 38 | Exon | chr11:108307923-108307973 | CN | 2 |  | N
301 | S010275 | True | ATM | 39 | Exon | chr11:108310213-108310263 | CN | 2 |  | N
302 | S017480 | True | ATM | 40 | Exon | chr11:108312423-108312473 | CN | 2 |  | N
303 | S010277 | False | ATM | 41 | Exon | chr11:108315803-108315853 | CN | 2 |  | N
304 | S017481 | False | ATM | 42 | Exon | chr11:108316023-108316073 | CN | 2 |  | N
305 | S010279 | False | ATM | 43 | Exon | chr11:108317433-108317483 | CN | 2 |  | N
306 | S017482 | True | ATM | 44 | Exon | chr11:108319963-108320013 | CN | 2 |  | N
307 | S010281 | False | ATM | 45 | Exon | chr11:108321353-108321403 | CN | 2 |  | N
308 | S017483 | False | ATM | 46 | Exon | chr11:108325313-108325363 | CN | 2 |  | N
309 | S010283 | False | ATM | 47 | Exon | chr11:108326073-108326123 | CN | 2 |  | N
310 | S010284 | False | ATM | 48 | Exon | chr11:108327723-108327773 | CN | 2 |  | N
311 | S017484 | False | ATM | 49 | Exon | chr11:108329033-108329083 | CN | 2 |  | N
312 | S010286 | False | ATM | 50 | Exon | chr11:108330323-108330373 | CN | 2 |  | N
313 | S010287 | False | ATM | 51 | Exon | chr11:108331463-108331513 | CN | 2 |  | N
314 | S017485 | True | ATM | 52 | Exon | chr11:108331983-108332033 | CN | 2 |  | N
315 | S010289 | True | ATM | 53 | Exon | chr11:108332803-108332853 | CN | 2 |  | N
316 | S010290 | False | ATM | 54 | Exon | chr11:108333853-108333903 | CN | 2 |  | N
317 | S017486 | False | ATM | 55 | Exon | chr11:108335003-108335053 | CN | 2 |  | N
318 | S010293 | True | ATM | 56 | Exon | chr11:108335873-108335923 | CN | 2 |  | N
319 | S010294 | False | ATM | 57 | Exon | chr11:108343283-108343333 | CN | 2 |  | N
320 | S017487 | False | ATM | 58 | Exon | chr11:108345793-108345843 | CN | 2 |  | N
321 | S010296 | False | ATM | 59 | Exon | chr11:108347303-108347353 | CN | 2 |  | N
322 | S010297 | False | ATM | 60 | Exon | chr11:108353783-108353833 | CN | 2 |  | N
323 | S010298 | False | ATM | 61 | Exon | chr11:108354793-108354843 | CN | 2 |  | N
324 | S017488 | False | ATM | 62 | Exon | chr11:108365093-108365143 | CN | 2 |  | N |  | Deletions and duplications of ATM exon 62+63 are observed rather frequent. Duplications of these two exons are probably not clinically significant (see product description).
325 | S010300 | False | ATM | 63 | Exon | chr11:108365443-108365493 | CN | 2 |  | N |  | Deletions and duplications of ATM exon 62+63 are observed rather frequent. Duplications of these two exons are probably not clinically significant (see product description).
326 | S017489 | False | ATM | 63 | Exon, ligation site in the 3'UTR, ~2 kb after stopcodon | chr11:108367513-108367563 | CN | 2 |  | N |  | Deletions and duplications of ATM exon 62+63 are observed rather frequent. Duplications of these two exons are probably not clinically significant (see product description).
327 | S010650 | True | CDK4 | 8 | Exon, ligation site in the 3'UTR, ~0.1 kb after stopcodon | chr12:057748410-057748460 | CN | 2 |  | N
328 | S010651 | True | CDK4 | 7 | Exon | chr12:057749180-057749230 | CN | 2 |  | N
329 | S017601 | True | CDK4 | 6 | Exon | chr12:057749430-057749480 | CN | 2 |  | N
330 | S010653 | True | CDK4 | 5 | Exon | chr12:057750740-057750790 | CN | 2 |  | N
331 | S017602 | True | CDK4 | 4 | Exon | chr12:057750930-057750980 | CN | 2 |  | N
332 | S010655 | True | CDK4 | 3 | Exon | chr12:057751260-057751310 | CN | 2 |  | N
333 | S017603 | True | CDK4 | 2 | Exon | chr12:057751550-057751600 | CN | 2 |  | N
334 | S010661 | False | CDK4 | 1 | Exon | chr12:057752300-057752350 | CN | 2 |  | N | 4 (low read count); 15 (non-coding)
335 | S019421 ¥ | False | CDK4 | 1 | Exon | chr12:057752350-057752400 | CN | 2 |  | N | 15 (non-coding)
336 | S019716 * | False | POLE | 46 | Exon | chr12:132626281-132626331 | CN | 2 |  | N
337 | S019402 * | False | POLE | 15 | Exon | chr12:132672751-132672801 | CN | 2 |  | N
338 | S010663 | False | POLE | 13 | Exon | chr12:132673641-132673691 | CN,WT | 2 | wt-c.1270C>G | N |  | A low probe read count can be due to a POLE deletion or to the c.1270C>G mutation (p.Leu424Val). Duplication of this probe was present in 3 out of 2600 samples. The clinical significance of these duplications is not clear.
339 | S019406 * | False | POLE | 2 | Exon | chr12:132681151-132681201 | CN | 2 |  | N | 6 (depurination-insensitive)
340 | S010170 | False | BRCA2 | up | Ligation site ~1.6 kb before non-coding exon 1 | chr13:032313793-032313843 | CN | 2 |  | N | 13 (flanking); 3 (pipetting)
341 | S019409 ¥ | False | BRCA2 | 1 | Exon | chr13:032315463-032315513 | CN | 2 |  | N | 15 (non-coding)
342 | S017445 | False | BRCA2 | 1 | Exon | chr13:032315643-032315693 | CN | 2 |  | N | 15 (non-coding)
343 | S010173 | True | BRCA2 | 2 | Exon | chr13:032316473-032316523 | CN | 2 |  | N
344 | S019422 * | False | BRCA2 | 3 | Exon | chr13:032319143-032319193 | CN,WT | 2 | wt-Alu insert | N |  | A low probe read count can be due to a BRCA2 exon 3 deletion or to the insertion of an Alu element (c.156_157insAlu; PMID16088935).
345 | S017446 | False | BRCA2 | 3 | Exon | chr13:032319223-032319273 | CN | 2 |  | N
346 | S010176 | True | BRCA2 | 4 | Exon | chr13:032325073-032325123 | CN | 2 |  | N
347 | S010177 | True | BRCA2 | 5 | Exon | chr13:032326113-032326163 | CN | 2 |  | N
348 | S017447 | False | BRCA2 | 6 | Exon | chr13:032326233-032326283 | CN | 2 |  | N
349 | S010179 | False | BRCA2 | 7 | Exon | chr13:032326543-032326593 | CN | 2 |  | N
350 | S010180 | False | BRCA2 | 8 | Exon | chr13:032329453-032329503 | CN | 2 |  | N
351 | S017448 | True | BRCA2 | 9 | Exon | chr13:032330993-032331043 | CN | 2 |  | N
352 | S010182 | False | BRCA2 | 10 | Exon | chr13:032332603-032332653 | CN | 2 |  | N
353 | S010183 | True | BRCA2 | 10 | Exon | chr13:032333133-032333183 | CN | 2 |  | N
354 | S010184 | True | BRCA2 | 10 | Exon | chr13:032333333-032333383 | CN | 2 |  | N
355 | S017449 | True | BRCA2 | 11 | Exon | chr13:032336343-032336393 | CN | 2 |  | N
356 | S010186 | True | BRCA2 | 11 | Exon | chr13:032336713-032336763 | CN | 2 |  | N
357 | S017450 | False | BRCA2 | 11 | Exon | chr13:032337353-032337403 | CN | 2 |  | N
358 | S010659 | False | BRCA2 | 11 | Exon | chr13:032337993-032338043 | CN | 2 |  | N
359 | S010189 | True | BRCA2 | 11 | Exon | chr13:032338653-032338703 | CN | 2 |  | N
360 | S017451 | True | BRCA2 | 11 | Exon | chr13:032339323-032339373 | CN | 2 |  | N
361 | S010191 | False | BRCA2 | 11 | Exon | chr13:032340383-032340433 | CN | 2 |  | N
362 | S017452 | False | BRCA2 | 11 | Exon | chr13:032340513-032340563 | CN | 2 |  | N
363 | S010193 | False | BRCA2 | 11 | Exon | chr13:032341093-032341143 | CN | 2 |  | N
364 | S017453 | False | BRCA2 | 12 | Exon | chr13:032344613-032344663 | CN | 2 |  | N
365 | S010195 | True | BRCA2 | 13 | Exon | chr13:032346853-032346903 | CN | 2 |  | N
366 | S017454 | True | BRCA2 | 14 | Exon | chr13:032354993-032355043 | CN | 2 |  | N
367 | S010197 | False | BRCA2 | 15 | Exon | chr13:032356503-032356553 | CN | 2 |  | N
368 | S010198 | True | BRCA2 | 16 | Exon | chr13:032357843-032357893 | CN | 2 |  | N
369 | S017455 | True | BRCA2 | 17 | Exon | chr13:032362623-032362673 | CN | 2 |  | N
370 | S010200 | False | BRCA2 | 18 | Exon | chr13:032363433-032363483 | CN | 2 |  | N
371 | S010201 | False | BRCA2 | 19 | Exon | chr13:032370433-032370483 | CN | 2 |  | N
372 | S017456 | True | BRCA2 | 20 | Exon | chr13:032370963-032371013 | CN | 2 |  | N
373 | S010203 | True | BRCA2 | 21 | Exon | chr13:032376693-032376743 | CN | 2 |  | N
374 | S010204 | False | BRCA2 | 22 | Exon | chr13:032379413-032379463 | CN | 2 |  | N
375 | S017457 | False | BRCA2 | 23 | Exon | chr13:032379763-032379813 | CN | 2 |  | N
376 | S010206 | True | BRCA2 | 24 | Exon | chr13:032380093-032380143 | CN | 2 |  | N
377 | S010207 | False | BRCA2 | 25 | Exon | chr13:032394883-032394933 | CN | 2 |  | N
378 | S017458 | True | BRCA2 | 26 | Exon | chr13:032396933-032396983 | CN | 2 |  | N
379 | S010209 | False | BRCA2 | 27 | Exon | chr13:032398253-032398303 | CN | 2 |  | N
380 | S010210 | False | BRCA2 | 27 | Exon | chr13:032398633-032398683 | CN | 2 |  | N
381 | S010211 | False | BRCA2 | 27 | Exon, ligation site in the 3'UTR, ~0.65 kb after stopcodon | chr13:032399393-032399443 | CN | 2 |  | N
382 | S017547 | False | SCG5 | 2 | Exon | chr15:032643707-032643757 | CN | 2 |  | N |  | Outside the duplicated region described in PMID22561515.
383 | S010479 | False | SCG5 | 3 | Exon | chr15:032679827-032679877 | CN | 2 |  | N |  | Within the duplicated region described in PMID22561515. Smaller duplicated regions have been described.
384 | S017548 | False | SCG5 | 4a | Exon | chr15:032684567-032684617 | CN | 2 |  | N |  | Within the duplicated region described in PMID22561515. Smaller duplicated regions have been described.
385 | S010481 | False | SCG5 | 5 | Exon | chr15:032691697-032691747 | CN | 2 |  | N |  | Within the duplicated region described in PMID22561515. Smaller duplicated regions have been described.
386 | S010482 | True | SCG5 | 6 | Exon | chr15:032696647-032696697 | CN | 2 |  | N |  | Within the duplicated region described in PMID22561515. Smaller duplicated regions have been described.
387 | S017549 | True | GREM1 | up | Ligation site ~5.6 kb before exon 1 | chr15:032712407-032712457 | CN | 2 |  | N |  | Within the duplicated region described in PMID22561515. Smaller duplicated regions have been described.
388 | S010374 | True | PALB2 | 13 | Exon, ligation site in the 3'UTR, ~0.2 kb after stopcodon | chr16:023603258-023603308 | CN | 2 |  | N
389 | S017512 | False | PALB2 | 13 | Exon | chr16:023603548-023603598 | CN | 2 |  | N
390 | S010376 | True | PALB2 | 12 | Exon | chr16:023607948-023607998 | CN | 2 |  | N
391 | S017513 | True | PALB2 | 11 | Exon | chr16:023613998-023614048 | CN | 2 |  | N
392 | S019423 * | True | PALB2 | 11 | Exon | chr16:023614068-023614118 | CN | 2 |  | N
393 | S010378 | True | PALB2 | 10 | Exon | chr16:023621408-023621458 | CN | 2 |  | N
394 | S017514 | False | PALB2 | 9 | Exon | chr16:023623008-023623058 | CN | 2 |  | N
395 | S010380 | True | PALB2 | 8 | Exon | chr16:023624008-023624058 | CN | 2 |  | N
396 | S019418 * | True | PALB2 | 7 | Exon, ligation site ~10nt after exon 7 | chr16:023626208-023626258 | CN | 2 |  | N
397 | S010381 | True | PALB2 | 7 | Exon | chr16:023626278-023626328 | CN | 2 |  | N
398 | S017515 | True | PALB2 | 6 | Exon | chr16:023629228-023629278 | CN | 2 |  | N
399 | S010383 | True | PALB2 | 5 | Exon | chr16:023629828-023629878 | CN | 2 |  | N
400 | S010384 | True | PALB2 | 5 | Exon | chr16:023630358-023630408 | CN | 2 |  | N
401 | S017516 | True | PALB2 | 4 | Exon | chr16:023635098-023635148 | CN | 2 |  | N
402 | S010386 | True | PALB2 | 4 | Exon | chr16:023635418-023635468 | CN | 2 |  | N
403 | S010387 | True | PALB2 | 4 | Exon | chr16:023636238-023636288 | CN | 2 |  | N
404 | S017517 | True | PALB2 | 3 | Exon | chr16:023637878-023637928 | CN | 2 |  | N
405 | S010389 | True | PALB2 | 2 | Exon | chr16:023638088-023638138 | CN | 2 |  | N
406 | S010390 | False | PALB2 | 1 | Exon, ligation site in the 5'UTR, ~0.1 kb before startcodon | chr16:023641268-023641318 | CN | 2 |  | N
407 | S010391 | True | DCTN5 | 2 | Exon, ligation site ~1.7 kb before PALB2 exon 1 | chr16:023642988-023643038 | CN | 2 |  | N | 13 (flanking)
408 | S010630 | True | CDH1 | up | Ligation site ~2.6 kb before exon 1 | chr16:068734626-068734676 | CN | 2 |  | N | 13 (flanking)
409 | S010631 | True | CDH1 | up | Ligation site ~2.2 kb before exon 1 | chr16:068735046-068735096 | CN | 2 |  | N | 13 (flanking)
410 | S017594 | True | CDH1 | 1 | Exon, ligation site in the 5'UTR, ~0.1 kb before startcodon | chr16:068737296-068737346 | CN | 2 |  | N
411 | S010633 | False | CDH1 | Intr. 1 | Intron, ligation site ~0.4 kb after exon 1 | chr16:068737826-068737876 | CN | 2 |  | N | 6 (depurination-insensitive)
412 | S010634 | False | CDH1 | 2 | Exon | chr16:068738356-068738406 | CN | 2 |  | N
413 | S010635 | True | CDH1 | 3 | Exon | chr16:068801736-068801786 | CN | 2 |  | N
414 | S010636 | False | CDH1 | 4 | Exon | chr16:068808446-068808496 | CN | 2 |  | N
415 | S017595 | True | CDH1 | 5 | Exon | chr16:068808766-068808816 | CN | 2 |  | N
416 | S010638 | True | CDH1 | 6 | Exon | chr16:068810286-068810336 | CN | 2 |  | N
417 | S017596 | True | CDH1 | 7 | Exon | chr16:068811806-068811856 | CN | 2 |  | N
418 | S010640 | True | CDH1 | 8 | Exon | chr16:068812226-068812276 | CN | 2 |  | N
419 | S010641 | True | CDH1 | 9 | Exon | chr16:068813416-068813466 | CN | 2 |  | N
420 | S017597 | False | CDH1 | 10 | Exon | chr16:068815636-068815686 | CN | 2 |  | N
421 | S010643 | True | CDH1 | 11 | Exon | chr16:068819306-068819356 | CN | 2 |  | N
422 | S017598 | True | CDH1 | 12 | Exon | chr16:068822106-068822156 | CN | 2 |  | N
423 | S010645 | True | CDH1 | 13 | Exon | chr16:068823586-068823636 | CN | 2 |  | N
424 | S017599 | True | CDH1 | 14 | Exon | chr16:068828206-068828256 | CN | 2 |  | N
425 | S011003 | True | CDH1 | 15 | Exon | chr16:068829636-068829686 | CN | 2 |  | N
426 | S017600 | True | CDH1 | 16 | Exon | chr16:068833396-068833446 | CN | 2 |  | N
427 | S010649 | True | CDH1 | 16 | Exon, ligation site within the 3'UTR, ~260 nt after stopcodon | chr16:068833746-068833796 | CN | 2 |  | N
428 | S010576 | True | TP53 | down | Ligation site ~2.1 kb after exon 11 | chr17:007666287-007666337 | CN | 2 |  | N | 13 (flanking)
429 | S018077 | True | TP53 | 11 | Exon | chr17:007669427-007669477 | CN | 2 |  | N
430 | S010578 | True | TP53 | 10 | Exon | chr17:007670647-007670697 | CN | 2 |  | N
431 | S017578 | False | TP53 | 8 | Exon | chr17:007673547-007673597 | CN | 2 |  | N
432 | S010581 | False | TP53 | 7 | Exon | chr17:007673757-007673807 | CN | 2 |  | N
433 | S010582 | True | TP53 | 6 | Exon | chr17:007674247-007674297 | CN | 2 |  | N
434 | S017579 | True | TP53 | 5 | Exon | chr17:007674907-007674957 | CN | 2 |  | N
435 | S010584 | False | TP53 | 4b | Exon | chr17:007675097-007675147 | CN | 2 |  | N
436 | S010585 | True | TP53 | 4b | Exon | chr17:007675187-007675237 | CN | 2 |  | N
437 | S017181 | True | TP53 | 3 | Exon | chr17:007676177-007676227 | CN | 2 |  | N
438 | S017580 | True | TP53 | 2d | Exon | chr17:007676367-007676417 | CN | 2 |  | N
439 | S010588 | True | TP53 | 2a | Exon, ligation site in the 5'UTR, ~30 nt before the startcodon | chr17:007676597-007676647 | CN | 2 |  | N
440 | S010589 | True | TP53 | 1 | Exon | chr17:007687417-007687467 | CN | 2 |  | N | 15 (non-coding)
441 | S017581 | True | TP53 | 1 | Exon, ligation site ~70 nt before non-coding exon 1 | chr17:007687597-007687647 | CN | 2 |  | N | 15 (non-coding)
442 | S010212 | True | RAD51D | 10 | Exon, ligation site in the 3'UTR, ~0.3 kb after stopcodon | chr17:035100628-035100678 | CN | 2 |  | N | 4 (low read count)
443 | S010213 | True | RAD51D | 10 | Exon | chr17:035100968-035101018 | CN | 2 |  | N
444 | S010214 | True | RAD51D | 9 | Exon | chr17:035101248-035101298 | CN | 2 |  | N
445 | S017459 | False | RAD51D | 8 | Exon | chr17:035103268-035103318 | CN | 2 |  | N | 2 (more variable) | In validation experiments this probe has been found more variable with values between 0.73-0.79 in 1/340 samples.
446 | S010216 | True | RAD51D | 7 | Exon | chr17:035103448-035103498 | CN | 2 |  | N
447 | S017460 | True | RAD51D | 6 | Exon | chr17:035106418-035106468 | CN | 2 |  | N
448 | S010218 | True | RAD51D | 5 | Exon | chr17:035107048-035107098 | CN | 2 |  | N
449 | S010219 | True | RAD51D | 4 | Exon | chr17:035107348-035107398 | CN | 2 |  | N
450 | S017461 | False | RAD51D | 3 | Exon | chr17:035118558-035118608 | CN | 2 |  | N
451 | S010221 | True | RAD51D | 2 | Exon | chr17:035119118-035119168 | CN | 2 |  | N
452 | S017462 | True | RAD51D | 1 | Exon | chr17:035119528-035119578 | CN | 2 |  | N
453 | S017605 | True | BRCA1 | 24 | Exon, ligation site in the 3'UTR, ~0.5 kb after stopcodon | chr17:043045167-043045217 | CN | 2 |  | N
454 | S010133 | False | BRCA1 | 24 | Exon, ligation site approx. at the location of the stopcodon | chr17:043045637-043045687 | CN | 2 |  | N
455 | S017432 | True | BRCA1 | 24 | Exon | chr17:043045757-043045807 | CN | 2 |  | N
456 | S010135 | False | BRCA1 | 23 | Exon | chr17:043047667-043047717 | CN | 2 |  | N
457 | S010136 | True | BRCA1 | 22 | Exon | chr17:043049127-043049177 | CN | 2 |  | N
458 | S013435 * | False | BRCA1 | Intr. 21 | Intron, ligation site ~0.1 kb before exon 22 | chr17:043049287-043049337 | CN | 2 |  | N
459 | S017433 | False | BRCA1 | 21 | Exon | chr17:043051067-043051117 | CN | 2 |  | N
460 | S010138 | False | BRCA1 | 20 | Exon | chr17:043057077-043057127 | CN | 2 |  | N
461 | S013437 * | True | BRCA1 | 20 | Exon, ligation site ~40 nt before exon 20 | chr17:043057157-043057207 | CN | 2 |  | N
462 | S010139 | False | BRCA1 | 19 | Exon | chr17:043063327-043063377 | CN | 2 |  | N
463 | S017434 | False | BRCA1 | 18 | Exon | chr17:043063907-043063957 | CN | 2 |  | N
464 | S013440 * | True | BRCA1 | 17 | Exon, ligation site ~30 nt after exon 17 | chr17:043067557-043067607 | CN | 2 |  | N
465 | S010141 | False | BRCA1 | 17 | Exon | chr17:043067637-043067687 | CN | 2 |  | N
466 | S010142 | True | BRCA1 | 16 | Exon | chr17:043070907-043070957 | CN | 2 |  | N
467 | S017435 | True | BRCA1 | 16 | Exon | chr17:043071187-043071237 | CN | 2 |  | N
468 | S010144 | False | BRCA1 | 15 | Exon | chr17:043074427-043074477 | CN | 2 |  | N
469 | S019424 * | True | BRCA1 | 14 | Exon, ligation site ~20 nt after exon 14 | chr17:043076437-043076487 | CN | 2 |  | N
470 | S010145 | False | BRCA1 | 14 | Exon | chr17:043076527-043076577 | CN | 2 |  | N
471 | S017436 | False | BRCA1 | Intr. 13 | Intron, ligation site ~0.15 kb after exon 13 | chr17:043082227-043082277 | CN | 2 |  | N |  | Deletion of BRCA1 exon 13 is a frequent Dutch founder mutation (PMID9354803). Duplication of BRCA1 exon 13 is a frequent founder mutation in diverse populations (PMID10827109). Deletion of only this intronic probe may have no clinical relevance.
472 | S010147 | False | BRCA1 | 13 | Exon | chr17:043082417-043082467 | CN | 2 |  | N |  | Deletion of BRCA1 exon 13 is a frequent Dutch founder mutation (PMID9354803). Duplication of BRCA1 exon 13 is a frequent founder mutation in diverse populations (PMID10827109).
473 | S010148 | True | BRCA1 | 13 | Exon | chr17:043082487-043082537 | CN | 2 |  | N |  | Deletion of BRCA1 exon 13 is a frequent Dutch founder mutation (PMID9354803). Duplication of BRCA1 exon 13 is a frequent founder mutation in diverse populations (PMID10827109).
474 | S010149 | True | BRCA1 | 12 | Exon | chr17:043090957-043091007 | CN | 2 |  | N
475 | S017437 | True | BRCA1 | 11 | Exon | chr17:043091507-043091557 | CN | 2 |  | N
476 | S010151 | True | BRCA1 | 11 | Exon | chr17:043091927-043091977 | CN | 2 |  | N
477 | S017438 | False | BRCA1 | 11 | Exon | chr17:043092467-043092517 | CN | 2 |  | N
478 | S010153 | False | BRCA1 | 11 | Exon | chr17:043092987-043093037 | CN | 2 |  | N
479 | S010154 | False | BRCA1 | 11 | Exon | chr17:043093497-043093547 | CN | 2 |  | N
480 | S017439 | True | BRCA1 | 11 | Exon | chr17:043093907-043093957 | CN | 2 |  | N
481 | S010156 | False | BRCA1 | 11 | Exon | chr17:043094287-043094337 | CN | 2 |  | N
482 | S017440 | False | BRCA1 | 11 | Exon | chr17:043094747-043094797 | CN | 2 |  | N
483 | S010158 | True | BRCA1 | 10 | Exon | chr17:043095877-043095927 | CN | 2 |  | N
484 | S017441 | True | BRCA1 | 9 | Exon | chr17:043097227-043097277 | CN | 2 |  | N
485 | S010160 | False | BRCA1 | 8 | Exon | chr17:043099807-043099857 | CN | 2 |  | N
486 | S013447 * | False | BRCA1 | 8 | Exon, ligation site ~50 nt before exon 8 | chr17:043099907-043099957 | CN | 2 |  | N
487 | S017442 | True | BRCA1 | 7 | Exon | chr17:043104137-043104187 | CN | 2 |  | N
488 | S010162 | True | BRCA1 | 6 | Exon | chr17:043104897-043104947 | CN | 2 |  | N
489 | S010163 | False | BRCA1 | 5 | Exon | chr17:043106487-043106537 | CN | 2 |  | N
490 | S013451 * | True | BRCA1 | Intr. 3 | Intron, ligation site ~0.15 kb after exon 3 | chr17:043115537-043115587 | CN | 2 |  | N
491 | S017443 | False | BRCA1 | 3 | Exon | chr17:043115727-043115777 | CN | 2 |  | N
492 | S010165 | False | BRCA1 | 2 | Exon | chr17:043124057-043124107 | CN | 2 |  | N | 12 (1 nt difference)
493 | S010166 | False | BRCA1 | Intr. 1a | Intron, ligation site ~0.2 kb after exon 1a, in alternative exon 1b. | chr17:043125037-043125087 | CN | 2 |  | N | 2 (more variable); 12 (1 nt difference); 15 (non-coding) | Non-coding exon 1b is not present in the major splice variant NM_007294.
494 | S017444 | False | BRCA1 | 1a | Exon | chr17:043125257-043125307 | CN | 2 |  | N | 12 (1 nt difference); 15 (non-coding)
495 | S010168 | False | BRCA1 | up | Ligation site ~0.7 kb before exon 1 | chr17:043126167-043126217 | CN | 2 |  | N | 12 (1 nt difference)
496 | S010169 | False | BRCA1 | up | Ligation site ~4.5 kb before exon 1 | chr17:043130057-043130107 | CN | 2 |  | N | 13 (flanking)
497 | S010224 | True | TEX14 | 1 | Exon, ligation site ~0.7 kb before RAD51C exon 1 | chr17:058691980-058692030 | CN | 2 |  | N | 13 (flanking)
498 | S010225 | True | RAD51C | 1 | Exon | chr17:058692670-058692720 | CN | 2 |  | N
499 | S010226 | True | RAD51C | 2 | Exon | chr17:058695030-058695080 | CN | 2 |  | N
500 | S017463 | True | RAD51C | 3 | Exon | chr17:058696760-058696810 | CN | 2 |  | N
501 | S010228 | True | RAD51C | 4 | Exon | chr17:058703300-058703350 | CN | 2 |  | N
502 | S010229 | True | RAD51C | 5 | Exon | chr17:058709880-058709930 | CN | 2 |  | N
503 | S017464 | False | RAD51C | 6 | Exon | chr17:058720750-058720800 | CN | 2 |  | N | 2 (more variable) | In validation experiments this probe has been found more variable with values between 0.68-0.79 in 1/425 samples.
504 | S010231 | True | RAD51C | 7 | Exon | chr17:058724050-058724100 | CN | 2 |  | N
505 | S010232 | True | RAD51C | 8 | Exon | chr17:058732500-058732550 | CN | 2 |  | N
506 | S010233 | True | RAD51C | 9 | Exon | chr17:058734120-058734170 | CN | 2 |  | N
507 | S017465 | True | RAD51C | down | Ligation site ~0.8 kb after exon 9 | chr17:058735110-058735160 | CN | 2 |  | N | 13 (flanking)
508 | S010352 | False | BRIP1 | 20 | Exon, ligation site in the 3'UTR, ~1.2 kb after stopcodon | chr17:061682117-061682167 | CN | 2 |  | N
509 | S017504 | True | BRIP1 | 20 | Exon | chr17:061684027-061684077 | CN | 2 |  | N
510 | S010354 | True | BRIP1 | 19 | Exon | chr17:061686007-061686057 | CN | 2 |  | N
511 | S010355 | True | BRIP1 | 18 | Exon | chr17:061693417-061693467 | CN | 2 |  | N
512 | S017505 | False | BRIP1 | 17 | Exon | chr17:061715947-061715997 | CN | 2 |  | N
513 | S010357 | True | BRIP1 | 16 | Exon | chr17:061743007-061743057 | CN | 2 |  | N
514 | S017506 | True | BRIP1 | 15 | Exon | chr17:061744527-061744577 | CN | 2 |  | N
515 | S010359 | True | BRIP1 | 14 | Exon | chr17:061776527-061776577 | CN | 2 |  | N
516 | S017507 | True | BRIP1 | 13 | Exon | chr17:061780337-061780387 | CN | 2 |  | N
517 | S010361 | True | BRIP1 | 12 | Exon | chr17:061780967-061781017 | CN | 2 |  | N
518 | S017508 | False | BRIP1 | 11 | Exon | chr17:061784347-061784397 | CN | 2 |  | N | 2 (more variable); 6 (depurination-insensitive)
519 | S010363 | True | BRIP1 | 10 | Exon | chr17:061793657-061793707 | CN | 2 |  | N
520 | S010364 | False | BRIP1 | 9 | Exon | chr17:061799237-061799287 | CN | 2 |  | N
521 | S019412 * | True | BRIP1 | 8 | Exon | chr17:061801337-061801387 | CN | 2 |  | N
522 | S017509 | True | BRIP1 | 8 | Exon | chr17:061801387-061801437 | CN | 2 |  | N
523 | S010366 | True | BRIP1 | 7 | Exon | chr17:061808617-061808667 | CN | 2 |  | N
524 | S010367 | True | BRIP1 | 6 | Exon | chr17:061847087-061847137 | CN | 2 |  | N
525 | S017510 | True | BRIP1 | 5 | Exon | chr17:061849137-061849187 | CN | 2 |  | N
526 | S010369 | True | BRIP1 | 4 | Exon | chr17:061857137-061857187 | CN | 2 |  | N
527 | S010370 | True | BRIP1 | 3 | Exon | chr17:061859827-061859877 | CN | 2 |  | N
528 | S017511 | True | BRIP1 | 2 | Exon | chr17:061861487-061861537 | CN | 2 |  | N
529 | S010662 | True | BRIP1 | 1 | Exon | chr17:061863317-061863367 | CN | 2 |  | N | 15 (non-coding)
530 | S010373 | False | INTS2 | 24 | Exon, ligation site ~2.2 kb before BRIP1 exon 1 | chr17:061865537-061865587 | CN | 2 |  | N | 13 (flanking)
531 | S011008 | False | SMAD4 | up | Ligation site ~62 kb upstream of exon 1 | chr18:050967532-050967582 | CN | 2 |  | N | 3 (pipetting) | Promoter region A (PMID21421563), 62 kb upstream of exon 1. Not duplicated in samples with an extra SMAD4 pseudogene (See Product description).
532 | S011009 | False | SMAD4 | up | Ligation site ~62 kb upstream of exon 1 | chr18:050967832-050967882 | CN | 2 |  | N |  | Promoter region A (PMID21421563), 62 kb upstream of exon 1. Not duplicated in samples with an extra SMAD4 pseudogene (See Product description).
533 | S010319 | True | SMAD4 | up | Ligation site ~1 kb before exon 1 | chr18:051029192-051029242 | CN | 2 |  | N |  | Not duplicated in samples with an extra SMAD4 pseudogene (See Product description).
534 | S017495 | False | SMAD4 | 1 | Exon | chr18:051030202-051030252 | CN | 2 |  | N | 15 (non-coding) | Not duplicated in samples with an extra SMAD4 pseudogene (See Product description).
535 | S010322 | False | SMAD4 | 2 | Exon | chr18:051047222-051047272 | CN | 2 |  | N |  | Apparent heterozygous duplication in samples with an extra SMAD4 pseudogene (See Product description).
536 | S010323 | True | SMAD4 | 3 | Exon | chr18:051048672-051048722 | CN | 2 |  | N |  | Not duplicated in samples with an extra SMAD4 pseudogene (See Product description).
537 | S017496 | True | SMAD4 | 4 | Exon | chr18:051049282-051049332 | CN | 2 |  | N |  | Not duplicated in samples with an extra SMAD4 pseudogene (See Product description).
538 | S010325 | False | SMAD4 | 5 | Exon | chr18:051054802-051054852 | CN | 2 |  | N |  | Apparent heterozygous duplication in samples with an extra SMAD4 pseudogene (See Product description).
539 | S017497 | False | SMAD4 | 6 | Exon | chr18:051058192-051058242 | CN | 2 |  | N |  | Apparent heterozygous duplication in samples with an extra SMAD4 pseudogene (See Product description).
540 | S010327 | True | SMAD4 | 7 | Exon | chr18:051058332-051058382 | CN | 2 |  | N |  | Not duplicated in samples with an extra SMAD4 pseudogene (See Product description).
541 | S010328 | False | SMAD4 | 8 | Exon | chr18:051059852-051059902 | CN | 2 |  | N |  | Not duplicated in samples with an extra SMAD4 pseudogene (See Product description).
542 | S017498 | False | SMAD4 | 9 | Exon | chr18:051065472-051065522 | CN | 2 |  | N |  | Apparent heterozygous duplication in samples with an extra SMAD4 pseudogene (See Product description).
543 | S010330 | False | SMAD4 | 10 | Exon | chr18:051067112-051067162 | CN | 2 |  | N |  | Apparent heterozygous duplication in samples with an extra SMAD4 pseudogene (See Product description).
544 | S017499 | False | SMAD4 | 11 | Exon | chr18:051076732-051076782 | CN | 2 |  | N |  | Apparent heterozygous duplication in samples with an extra SMAD4 pseudogene (See Product description).
545 | S010332 | False | SMAD4 | 12 | Exon | chr18:051078302-051078352 | CN | 2 |  | N |  | Apparent heterozygous duplication in samples with an extra SMAD4 pseudogene (See Product description).
546 | S017500 | True | SMAD4 | 12 | Exon, ligation site in 3'UTR, ~3.1 kb after the stopcodon | chr18:051081612-051081662 | CN | 2 |  | N |  | Not duplicated in samples with an extra SMAD4 pseudogene (See Product description).
547 | S010334 | False | SMAD4 | 12 | Exon, ligation site in 3'UTR, ~6.2 kb after the stopcodon | chr18:051084702-051084752 | CN | 2 |  | N |  | Not duplicated in samples with an extra SMAD4 pseudogene (See Product description).
548 | S010335 | False | STK11 | up | Ligation site ~1.2 kb before exon 1 | chr19:001204551-001204601 | CN | 2 |  | N | 1 (salt); 13 (flanking)
549 | S017501 | False | STK11 | up | Ligation site ~0.7 kb before exon 1 | chr19:001205071-001205121 | CN | 2 |  | N | 1 (salt); 2 (more variable)
550 | S019394 ¥ | False | STK11 | 1 | Exon, ligation site ~0.1 kb before exon 1 | chr19:001205691-001205741 | CN | 2 |  | N | 1 (salt)
551 | S019715 ¥ | False | STK11 | 1 | Exon, ligation site in 5'UTR, 0.4 kb before startcodon | chr19:001206501-001206551 | CN | 2 |  | N | 1 (salt)
552 | S017502 | False | STK11 | 1 | Exon | chr19:001207131-001207181 | CN | 2 |  | N | 1 (salt); 2 (more variable); 6 (depurination-insensitive)
553 | S017973 | False | STK11 | 2 | Exon | chr19:001218441-001218491 | CN | 2 |  | N | 1 (salt)
554 | S010341 | False | STK11 | 3 | Exon | chr19:001219371-001219421 | CN | 2 |  | N | 1 (salt); 2 (more variable)
555 | S017972 | False | STK11 | 4 | Exon | chr19:001220361-001220411 | CN | 2 |  | N | 1 (salt); 2 (more variable)
556 | S019400 ¥ | False | STK11 | 5 | Exon | chr19:001220651-001220701 | CN | 2 |  | N | 1 (salt)
557 | S017970 | False | STK11 | 6 | Exon | chr19:001221321-001221371 | CN | 2 |  | N | 1 (salt)
558 | S019714 * | False | STK11 | Intr. 6 | Intron, ligation site ~0.15 kb before exon 7 | chr19:001221771-001221821 | CN | 2 |  | N | 1 (salt)
559 | S019399 ¥ | False | STK11 | 7 | Exon, ligation site ~60 nt after exon 7 | chr19:001222041-100222091 | CN | 2 |  | N | 1 (salt); 2 (more variable)
560 | S019404 ¥ | False | STK11 | 8 | Exon | chr19:001223031-001223081 | CN | 2 |  | N | 1 (salt)
561 | S019419 ¥ | False | STK11 | 9 | Exon | chr19:001226431-001226481 | CN | 2 |  | N | 1 (salt)
562 | S019395 ¥ | False | STK11 | 10 | Exon, ligation site in 3'UTR, ~0.1 kb after stopcodon | chr19:001227681-001227731 | CN | 2 |  | N | 1 (salt)
563 | S019393 ¥ | False | STK11 | 10 | Exon, ligation site in 3'UTR, ~0.8 kb after stopcodon | chr19:001228331-001228381 | CN | 2 |  | N | 1 (salt)
564 | S010350 | False | STK11 | down | Ligation site ~0.4 kb after exon 10 | chr19:001228841-001228891 | CN | 2 |  | N | 1 (salt); 2 (more variable); 13 (flanking)
565 | S010112 | False | CHEK2 | 15 | Exon | chr22:028687892-028687962 | CN | 2 |  | N | 2 (more variable); 4 (low read count); 5 (depurination-sensitive); 12 (1 nt difference) | In validation experiments this probe has been found more variable with values between 0.74-0.76 and 1.21-1.28 in 2/425 samples. Ligation sites within the coding sequence. This probe consists of three oligos and has two ligation sites.
566 | S010113 | False | CHEK2 | Intr. 14 | Intron, ligation site ~0.2 kb after exon 14 | chr22:028688902-028688952 | CN | 2 |  | N | 12 (1 nt difference)
567 | S019413 * | False | CHEK2 | 14 | Exon, ligation site ~0.1 kb before exon 14 | chr22:028689292-028689342 | CN | 2 |  | N | 12 (1 nt difference)
568 | S019416 * | False | CHEK2 | 13 | Exon | chr22:028694022-028694072 | CN | 2 |  | N | 12 (1 nt difference)
569 | S010114 | False | CHEK2 | 13 | Exon, ligation site ~60 nt before exon 13 | chr22:028694142-028694192 | CN | 2 |  | N | 12 (1 nt difference)
570 | S017426 | False | CHEK2 | 12 | Exon, ligation site ~50 nt after exon 12 | chr22:028695062-028695112 | CN | 2 |  | N | 12 (1 nt difference)
571 | S010116 | False | CHEK2 | 11 | Exon, ligation site ~30 nt after exon 11 | chr22:028695672-028695722 | CN | 2 |  | N | 12 (1 nt difference)
572 | S010118 | False | CHEK2 | 10 | Exon | chr22:028696942-028696992 | CN | 2 |  | N |  | Deletion of CHEK2 exons 9+10 is a frequent Eastern Europe founder mutation (PMID16897426).
573 | S017427 | False | CHEK2 | 9 | Exon | chr22:028699882-028699932 | CN | 2 |  | N | 6 (depurination-insensitive) | Deletion of CHEK2 exons 9+10 is a frequent Eastern Europe founder mutation (PMID16897426).
574 | S010120 | False | CHEK2 | 8 | Exon | chr22:028703512-028703562 | CN | 2 |  | N
575 | S017428 | False | CHEK2 | 7 | Exon | chr22:028710012-028710062 | CN | 2 |  | N
576 | S011000 | False | CHEK2 | 6 | Exon, ligation site ~20 nt after exon 6 | chr22:028711872-028711922 | CN | 2 |  | N
577 | S017429 | True | CHEK2 | 5 | Exon | chr22:028719402-028719452 | CN | 2 |  | N
578 | S010124 | False | CHEK2 | 4 | Exon | chr22:028725032-028725082 | CN | 2 |  | N
579 | S017430 | True | CHEK2 | 3 | Exon | chr22:028725262-028725312 | CN | 2 |  | N
580 | S010126 | True | CHEK2 | 2 | Exon | chr22:028734482-028734532 | CN | 2 |  | N
581 | S019411 * | True | CHEK2 | 2 | Exon | chr22:028734662-028734712 | CN | 2 |  | N
582 | S010127 | False | CHEK2 | 1 | Exon | chr22:028741792-028741842 | CN | 2 |  | N | 15 (non-coding)
583 | S017608 | False | CHEK2 | 1 | Exon, ligation site ~90 nt before exon 1 | chr22:028741912-028741962 | CN | 2 |  | N | 15 (non-coding)
584 | S010129 | True | HSCB | 2 | Exon, ligation site ~2.1 kb before CHEK2 exon 1 | chr22:028743932-028743982 | CN | 2 |  | N | 13 (flanking)