## Front Page
Probe Information File (PIF) NXtec™ D028-A1 Carrier Panel 1 To be used with the product description.
Implemented Changes in the Probe Information File
Version A1-01 — 09 February 2026 (04) - Not applicable, new document.

## Probe Information File
NXtec D028-A1 Carrier Panel 1 - PIF version A1-01 | [15 empty] | PIFTV05
Notes
The purpose of this Probe Information File (PIF) is to provide information on the location, mutation details and warnings of the probes present in the above mentioned probemix. More information is present in the Product Description.
* The traditional exon numbering common in scientific literature is used here (exons 1, 2a, 2b, and 3-8). Other information for probes targeting SMN1 is based on the NM_000344.4 (MANE select) transcript.
Δ The mapview locations are based on the hg38 build. A tool for converting genome coordinates and genome annotation files between assemblies can be found here: https://genome.ucsc.edu/cgi-bin/hgLiftOver.
# A panel is a subset of related probes, when excluding a panel from analysis their results will be masked. A panel can be divided into one or more subpanels. Please be aware that the Sample Result reports that are compiled only show gene panels that have aberrant results or quality warnings. For an overview of all results, consult the Excel Report.
Gene structure and transcript variants
Entrez Gene shows transcript variants of each gene: | [5 empty] | http://www.ncbi.nlm.nih.gov/sites/entrez?db=gene
For NM_ mRNA reference sequences: | [5 empty] | http://www.ncbi.nlm.nih.gov/sites/entrez?db=nucleotide
Matched Annotation from NCBI and EMBL-EBI (MANE): | [5 empty] | http://www.ncbi.nlm.nih.gov/refseq/MANE/
Tark – Transcript Archive: | [5 empty] | http://tark.ensembl.org/
Probe types
CN |  |  |  | Copy number probe.
WT |  |  |  | Wildtype probe. This probe detects the normal allele (wildtype sequence) of a mutation indicated in the “SNP/mutation details” column. A decreased probe read count can be due to a deletion or by the presence of the mutation. An increased probe read count indicates a duplication of the wildtype sequence.
SNP |  |  |  | SNP probe. This probe detects the presence of one of the two or more possible alleles of the single nucleotide polymorphism indicated in the “SNP/mutation details” column.
MUT |  |  |  | Mutation-specific probe. This probe will only generate reads when the mutation that is indicated in the “SNP/mutation details” column is present.
DOUBLE WT |  |  |  | Double wildtype probe. This probe has two ligation sites and detects the wildtype sequence at two locations simultaneously, both of which are indicated in the "SNP/mutation details" column. A decreased probe read count can be due to a deletion or by the presence of one of the two (or both) mutations. An accompanying supportive (WT) probe is included to determine which mutation is present in case of a decreased read count for this probe.
Probe warnings (if present for a probe)
salt |  |  |  | Probe located in or near a GC-rich region. A decreased probe read count can be caused by salt contamination of the DNA sample, leading to incomplete DNA denaturation, especially of GC-rich regions.
more variable |  |  |  | This probe showed a high standard deviation in our quality tests. Aberrant results should be treated with caution.
pipetting |  |  |  | This probe is more sensitive to certain experimental variations, in particular pipetting mistakes of the hybridisation master mix. Aberrant results should be treated with caution.
low read count |  |  |  | This probe showed a low read count in our quality tests. Aberrant results should be treated with caution.
depurination-sensitive |  |  |  | This probe can have a decreased read count in sample DNA that is depurinated. Sample DNA depurination is observed primarily in insufficiently buffered DNA samples and FFPE tissue (Formalin Fixed, Paraffin Embedded) derived DNA samples.
depurination-insensitive |  |  |  | This probe can have an increased read count in sample DNA that is depurinated. Sample DNA depurination is observed primarily in insufficiently buffered DNA samples and FFPE tissue (Formalin Fixed, Paraffin Embedded) derived DNA samples.
background - WT |  |  |  | This probe has some residual background in absence of its specific target sequence.
RNA |  |  |  | The presence of RNA in the sample can result in an increased or decreased probe read count.
1 nt difference |  |  |  | This probe’s specificity relies on a single nucleotide difference compared to a related gene or pseudogene. As a result, an apparent duplication of only this probe can be the result of a non-significant single nucleotide sequence change in the related gene or pseudogene.
flanking |  |  |  | Flanking probe. Included to help determine the extent of a deletion/duplication. Copy number alterations of only a flanking probe are unlikely to be related to the condition tested.
fragmentation |  |  |  | This probe is more sensitive to fragmented sample DNA.
Probe order | Probe number | Reference probe | Gene | Transcript | Exon number | Position | Chromosomal band (hg38) | Mapview (hg38)Δ | Probe type | Panel# | Subpanel | Normal copy number | SNP/mutation details | Warnings | Additional information
1 | S017635 | No | SMN1 | NM_000344.4 | 7* | Exon | 05q13.2 | chr5:70951907-70951957 | CN | Spinal Muscular Atrophy (SMA) | SMN1 | 2 |  | 1 nt difference | The exon 7 difference between the SMN1 and SMN2 gene, as targeted by this probe, is the only clinically relevant difference between these two genes. One copy indicates a SMA carrier.
2 | S016793 | No | SMN1 | NM_000344.4 | 7* | Ligation site ~80 nt after exon 7 | 05q13.2 | chr5:70952047-70952097 | SNP |  | SMN1 - SNP | 0 | c.*3+80T>G |  | ClinVar ID 1331398, rs143838139. Presence of this polymorphism in combination with two copies of SMN1 indicates an increased risk, depending on the ethnic background, that the person tested is a silent SMA carrier who carries two SMN1 copies on one allele and none on the other (PMID: 23788250).
3 | S019281 | No | SMN1 | NM_000344.4 | 8* | Ligation site in 3' UTR, ~0.2 kb after stop codon | 05q13.2 | chr5:70952647-70952697 | CN |  | SMN1 | 2 |  | Depurination-sensitive; 1 nt difference | The exon 8 difference between the SMN1 and SMN2 gene, as targeted by this probe, is not clinically relevant. This probe serves as an interpretation aid for SMN1 copy number determination and confirms results of S017635 in in up to 90-95% of samples.
4 | S021919 | No | CYP21A2 | NM_000500.9 | Up | Ligation site ~0.1 kb before exon 1 | 06p21.33 | chr6:32038264-32038314 | CN/WT | Congenital Adrenal Hyperplasia (CAH) | CYP21A2 & TNXB | 2 | WT c.-113G | Pipetting; low read count; depurination-sensitive | ClinVar ID 987867, rs1246774295, -113 SNP. This probe can be used to deduce if this mutation is present, in case S021918 shows aberrant results.
5 | S021918 | No | CYP21A2 | NM_000500.9 | Up + 1 | First ligation site ~0.1 kb before exon 1 | 06p21.33 | chr6:32038270-32038540 | CN/DOUBLE WT |  |  | 2 | WT c.-113G & c.92C | More variable; pipetting; low read count; depurination-sensitive; fragmentation | ClinVar ID 987867, rs1246774295, -113 SNP + ClinVar ID 12153, rs9378251, P31L. This probe consists of 3 oligos and has two ligation sites. RPQ warnings or errors for this probe indicate issues with sample DNA fragmentation, please refer to the PD for more information.
6 | Average I2G | No | CYP21A2 | NM_000500.9 | 3 | Exon | 06p21.33 | chr6:32039054-32039104 | CN/WT |  |  | 2 | WT c.293-13 | More variable; low read count; depurination-insensitive; background - WT; 1 nt difference | ClinVar ID 12155, rs6467, I2G, intron 2 splice mutation. This probe shows the average of the two wildtype alleles at the I2G location: the A- and C-allele. The normal copy number of this probe is 2.
7 | S019229 | No | CYP21A2 | NM_000500.9 | 3 | Exon | 06p21.33 | chr6:32039124-32039174 | CN/WT |  |  | 2 | WT c.332_339del |  | ClinVar ID 12164, rs387906510, del8bp, G111fs*21.
8 | S021924 | No | CYP21A2 | NM_000500.9 | 4 | Exon | 06p21.33 | chr6:32039394-32039444 | CN/WT |  |  | 2 | WT c.518T | Low read count; depurination-sensitive; 1 nt difference | ClinVar ID 12150, rs6475, I173N. This probe can be used to deduce if this mutation is present, in case S023020 shows aberrant results. Increased probe ratios for this probe and S023020 have been frequently observed in Filipino samples. This benign polymorphism could potentially obscure the presence of a CYP21A2 I173N or V282L mutation.
9 | S023020 | No | CYP21A2 | NM_000500.9 | 4 + 7 | Exon 4 + Exon 7 | 06p21.33 | chr6:32039400-32040140 | CN/DOUBLE WT |  |  | 2 | WT c.518T & c.844G | More variable; pipetting; low read count; depurination-sensitive; fragmentation | ClinVar ID 12150, rs6475, I173N + ClinVar ID 12151, rs6471, V282L. This probe consists of 3 oligos and has two ligation sites. RPQ warnings or errors for this probe indicate issues with sample DNA fragmentation, please refer to the PD for more information. Increased probe ratios for this probe and S021924 have been frequently observed in Filipino samples. This benign polymorphism could potentially obscure the presence of a CYP21A2 I173N or V282L mutation.
10 | S023540 | No | CYP21A2 | NM_000500.9 | 6 | Exon | 06p21.33 | chr6:32039774-32039824 | CN/WT |  |  | 2 | WT c.713T | Low read count; depurination-sensitive | ClinVar ID 12173, rs12530380, V238E. This probe can be used to deduce if this mutation is present, in case S021921 shows aberrant results.
11 | S021921 | No | CYP21A2 | NM_000500.9 | 6 + 8 | Exon 6 + Exon 8 | 06p21.33 | chr6:32039780-32040450 | CN/DOUBLE WT |  |  | 2 | WT c.713T & c.955C | More variable; low read count; depurination-sensitive; fragmentation | ClinVar ID 12173, rs12530380, V238E + ClinVar ID 12169, rs7755898; Q319*. This probe consists of 3 oligos and has two ligation sites. RPQ warnings or errors for this probe indicate issues with sample DNA fragmentation, please refer to the PD for more information.
12 | S021923 | No | CYP21A2 | NM_000500.9 | 7 | Exon | 06p21.33 | chr6:32040144-32040194 | CN/WT |  |  | 2 | WT c.923dup | Low read count; 1 nt difference | ClinVar ID 65611, rs267606756, L308fs*6. This probe can be used to deduce if this mutation is present, in case S021922 shows aberrant results.
13 | S021922 | No | CYP21A2 | NM_000500.9 | 7 + 8 | Exon 7 + Exon 8 | 06p21.33 | chr6:32040160-32040560 | CN/DOUBLE WT |  |  | 2 | WT c.923dup & c.1069C | More variable; low read count; depurination-sensitive; fragmentation | ClinVar ID 65611, rs267606756, L308fs*6 + ClinVar ID 12152, rs7769409, R357W. This probe consists of 3 oligos and has two ligation sites. RPQ warnings or errors for this probe indicate issues with sample DNA fragmentation, please refer to the PD for more information.
14 | S013205 | No | CYP21A2 | NM_000500.9 | 10 | Exon | 06p21.33 | chr6:32040984-32041034 | MUT |  | CYP21A2 - MUT | 0 | c.1360C>T |  | ClinVar ID 12159, rs6445, P454S.
15 | S019216 | No | TNXB | NM_001365276.2 | 35 | Exon | 06p21.33 | chr6:32043754-32043804 | CN |  | CYP21A2 & TNXB | 2 |  | Pipetting; flanking | Flanking probe, 2.1 kb downstream of CYP21A2. Often codeleted/duplicated in case of CYP21A2 copy number changes. TNXB is associated with Classical-like Ehlers-Danlos syndrome (clEDS) - a recessive disorder.
16 | S019218 | No | TNXB | NM_001365276.2 | 35 | Exon | 06p21.33 | chr6:32043814-32043864 | CN |  |  | 2 |  | Flanking | Flanking probe, 2.2 kb downstream of CYP21A2. Often codeleted/duplicated in case of CYP21A2 copy number changes. TNXB is associated with Classical-like Ehlers-Danlos syndrome (clEDS) - a recessive disorder.
17 | S019232 | No | TNXB | NM_001365276.2 | 31 | Exon | 06p21.33 | chr6:32046365-32046415 | CN |  |  | 2 |  | Flanking | Flanking probe, 4.7 kb downstream of CYP21A2. TNXB is associated with Classical-like Ehlers-Danlos syndrome (clEDS) - a recessive disorder.
18 | S019221 | No | TNXB | NM_001365276.2 | 29 | Exon | 06p21.33 | chr6:32048645-32048695 | CN |  |  | 2 |  | Flanking | Flanking probe, 7.0 kb downstream of CYP21A2. TNXB is associated with Classical-like Ehlers-Danlos syndrome (clEDS) - a recessive disorder.
19 | S019225 | No | TNXB | NM_001365276.2 | 19 | Exon | 06p21.33 | chr6:32065065-32065115 | CN |  |  | 2 |  | Flanking | Flanking probe, 23 kb downstream of CYP21A2. TNXB is associated with Classical-like Ehlers-Danlos syndrome (clEDS) - a recessive disorder.
20 | S016583 | No | CFTR | NM_000492.4 | 1 | Ligation site in 5'UTR, ~80 nt before start codon | 07q31.2 | chr7:117480000-117480050 | CN | Cystic Fibrosis (CF) | CFTR | 2
21 | S013036 | No | CFTR | NM_000492.4 | 2 | Ligation site ~20 nt before exon 2 | 07q31.2 | chr7:117504200-117504250 | CN |  |  | 2 |  |  | This probe is within the c.54-5940_273+10250del region (ClinVar ID 66105).
22 | S016600 | No | CFTR | NM_000492.4 | 2 | Exon | 07q31.2 | chr7:117504290-117504340 | CN |  |  | 2 |  |  | This probe is within the c.54-5940_273+10250del region (ClinVar ID 66105).
23 | S014398 | No | CFTR | NM_000492.4 | 3 | Exon | 07q31.2 | chr7:117509000-117509050 | CN |  |  | 2 |  |  | This probe is within the c.54-5940_273+10250del region (ClinVar ID 66105).
24 | S016598 | No | CFTR | NM_000492.4 | 4 | Exon | 07q31.2 | chr7:117530920-117530970 | CN |  |  | 2
25 | S014353 | No | CFTR | NM_000492.4 | 4 | Exon | 07q31.2 | chr7:117531080-117531130 | CN/WT |  |  | 2 | WT c.489+1G |  | ClinVar ID 38799, rs78756941, 621+1G>T.
26 | S016604 | No | CFTR | NM_000492.4 | 5 | Exon | 07q31.2 | chr7:117534250-117534300 | CN |  |  | 2
27 | S016588 | No | CFTR | NM_000492.4 | 6 | Exon | 07q31.2 | chr7:117535270-117535320 | CN |  |  | 2 |  | Low read count
28 | S016794 | No | CFTR | NM_000492.4 | 6 | Exon | 07q31.2 | chr7:117535380-117535430 | CN/WT |  |  | 2 | WT c.723_743+1del |  | ClinVar ID 7145, rs121908804, 852del22.
29 | S016601 | No | CFTR | NM_000492.4 | 7 | Exon | 07q31.2 | chr7:117536550-117536600 | CN |  |  | 2
30 | S015461 | No | CFTR | NM_000492.4 | 8 | Exon | 07q31.2 | chr7:117540260-117540310 | CN/WT |  |  | 2 | WT c.1040G |  | ClinVar IDs 7182/7110, rs77932196, R347H/R347P.
31 | S016591 | No | CFTR | NM_000492.4 | 9 | Exon | 07q31.2 | chr7:117542060-117542110 | CN |  |  | 2
32 | S018646 | No | CFTR | NM_000492.4 | 10 | Exon | 07q31.2 | chr7:117548800-117548850 | CN |  |  | 2 |  | 1 nt difference
33 | S013038 | No | CFTR | NM_000492.4 | 11 | Exon | 07q31.2 | chr7:117559500-117559550 | CN |  |  | 2
34 | S013035 | No | CFTR | NM_000492.4 | 11 | Exon | 07q31.2 | chr7:117559570-117559620 | CN/WT |  |  | 2 | WT c.1521_1523del |  | ClinVar ID 7105, rs113993960, F508del. Probe can also detect ClinVar ID 7106, rs121908745, I507del.
35 | S019576 | No | CFTR | NM_000492.4 | 12 | Exon | 07q31.2 | chr7:117587760-117587810 | CN/WT |  |  | 2 | WT c.1624G |  | ClinVar ID 7115, rs113993959, G542*.
36 | S016603 | No | CFTR | NM_000492.4 | 13 | Exon | 07q31.2 | chr7:117590320-117590370 | CN |  |  | 2
37 | S018648 | No | CFTR | NM_000492.4 | 14 | Exon | 07q31.2 | chr7:117592040-117592090 | CN/WT |  |  | 2 | WT c.1820_1903del |  | ClinVar ID 53396, rs121908777, M607_Q634del.
38 | S016594 | No | CFTR | NM_000492.4 | 14 | Exon | 07q31.2 | chr7:117592530-117592580 | CN |  |  | 2 |  | Low read count
39 | S016593 | No | CFTR | NM_000492.4 | 15 | Exon | 07q31.2 | chr7:117594950-117595000 | CN |  |  | 2
40 | S016595 | No | CFTR | NM_000492.4 | 15 | Exon | 07q31.2 | chr7:117595020-117595070 | CN |  |  | 2
41 | S019577 | No | CFTR | NM_000492.4 | 16 | Exon | 07q31.2 | chr7:117602780-117602830 | CN |  |  | 2 |  | Depurination-sensitive
42 | S016605 | No | CFTR | NM_000492.4 | 17 | Exon | 07q31.2 | chr7:117603540-117603590 | CN |  |  | 2 |  | Low read count
43 | S018649 | No | CFTR | NM_000492.4 | 17 | Exon | 07q31.2 | chr7:117603720-117603770 | CN/WT |  |  | 2 | WT c.2859_2890del |  | ClinVar ID 53581, rs397508445, L953fs.
44 | S016602 | No | CFTR | NM_000492.4 | 18 | Exon | 07q31.2 | chr7:117606660-117606710 | CN |  |  | 2
45 | S017633 | No | CFTR | NM_000492.4 | 19 | Exon | 07q31.2 | chr7:117610550-117610600 | CN |  |  | 2
46 | S014370 | No | CFTR | NM_000492.4 | 19 | Exon | 07q31.2 | chr7:117610630-117610680 | CN |  |  | 2
47 | S014371 | No | CFTR | NM_000492.4 | 20 | Ligation site ~30 nt before exon 20 | 07q31.2 | chr7:117611520-117611570 | CN/WT |  |  | 2 | WT c.3140-26A |  | ClinVar ID 35864, rs76151804, 3272-26A.
48 | S017227 | No | CFTR | NM_000492.4 | 20 | Exon | 07q31.2 | chr7:117611760-117611810 | CN |  |  | 2 |  |  | This probe is within the c.3281_3367+268delinsTGTTAA region (ClinVar ID 53703).
49 | S016587 | No | CFTR | NM_000492.4 | 21 | Exon | 07q31.2 | chr7:117614620-117614670 | CN |  |  | 2
50 | S016592 | No | CFTR | NM_000492.4 | 21 | Exon | 07q31.2 | chr7:117614680-117614730 | CN |  |  | 2
51 | S014374 | No | CFTR | NM_000492.4 | 22 | Exon | 07q31.2 | chr7:117627560-117627610 | CN/WT |  |  | 2 | WT c.3528del |  | ClinVar ID 35868, rs78984783, K1177fs.
52 | S016585 | No | CFTR | NM_000492.4 | 22 | Exon | 07q31.2 | chr7:117627690-117627740 | CN |  |  | 2
53 | S016597 | No | CFTR | NM_000492.4 | 23 | Ligation site ~30 nt before exon 23 | 07q31.2 | chr7:117642380-117642430 | CN |  |  | 2
54 | S014375 | No | CFTR | NM_000492.4 | 23 | Exon | 07q31.2 | chr7:117642540-117642590 | CN/WT |  |  | 2 | WT c.3846G |  | ClinVar ID 7129, rs77010898, W1282*.
55 | S014376 | No | CFTR | NM_000492.4 | 24 | Exon | 07q31.2 | chr7:117652850-117652900 | CN/WT |  |  | 2 | WT c.3909C |  | ClinVar ID 7136, rs80034486, N1303K.
56 | S016578 | No | CFTR | NM_000492.4 | 24 | Exon | 07q31.2 | chr7:117652930-117652980 | CN |  |  | 2
57 | S013033 | No | CFTR | NM_000492.4 | 25 | Exon | 07q31.2 | chr7:117664700-117664750 | CN |  |  | 2 |  |  | This probe is within the c.3964-78_4242+577del region (ClinVar ID 66104).
58 | S016584 | No | CFTR | NM_000492.4 | 25 | Exon | 07q31.2 | chr7:117664800-117664850 | CN |  |  | 2 |  |  | This probe is within the c.3964-78_4242+577del region (ClinVar ID 66104).
59 | S014377 | No | CFTR | NM_000492.4 | 26 | Exon | 07q31.2 | chr7:117665440-117665490 | CN |  |  | 2 |  | Low read count | This probe is within the c.3964-78_4242+577del region (ClinVar ID 66104).
60 | S019578 | No | CFTR | NM_000492.4 | 26 | Exon | 07q31.2 | chr7:117665530-117665580 | CN |  |  | 2 |  |  | This probe is within the c.3964-78_4242+577del region (ClinVar ID 66104).
61 | S016579 | No | CFTR | NM_000492.4 | 27 | Exon | 07q31.2 | chr7:117666900-117666950 | CN |  |  | 2
62 | S017337 | No | HBB | NM_000518.5 | Down | Ligation site ~0.5 kb after exon 3 | 11p15.4 | chr11:5224924-5224974 | CN | Beta-thalassemia | HBB region | 2
63 | S017346 | No | HBB | NM_000518.5 | Down | Ligation site ~0.2 kb after exon 3 | 11p15.4 | chr11:5225224-5225274 | CN |  |  | 2
64 | S013311 | No | HBB | NM_000518.5 | 3 | Ligation site in 3' UTR, ~60 nt after stop codon | 11p15.4 | chr11:5225514-5225564 | CN |  |  | 2 |  | RNA | Several mutations in this splice region may also affect this probe.
65 | S022023 | No | HBB | NM_000518.5 | 3 | Exon | 11p15.4 | chr11:5225714-5225764 | CN/WT |  |  | 2 | WT c.316-3C | RNA | ClinVar ID 15451, rs33913413, IVS II-848. Several other mutations in this splice region may also affect this probe.
66 | S018382 | No | HBB | NM_000518.5 | Intr. 2 | Ligation site ~0.1 kb before exon 3 | 11p15.4 | chr11:5225804-5225854 | MUT |  | HBB region - MUT | 0 | c.316-106C>G |  | ClinVar ID 15457, rs34690599, IVS II-745 C>G.
67 | S018564 | No | HBB | NM_000518.5 | Intr. 2 | Ligation site ~0.2 kb before exon 3 | 11p15.4 | chr11:5225884-5225934 | MUT |  |  | 0 | c.316-197C>T |  | ClinVar ID 15458, rs34451549, IVS II-654 C>T.
68 | S013312 | No | HBB | NM_000518.5 | Intr. 2 | Ligation site ~0.1 kb after exon 2 | 11p15.4 | chr11:5226444-5226494 | CN |  | HBB region | 2
69 | S018554 | No | HBB | NM_000518.5 | 2 | Ligation site ~20 nt before exon 2 | 11p15.4 | chr11:5226804-5226854 | MUT |  | HBB region - MUT | 0 | c.93-21G>A |  | ClinVar ID 15454, rs35004220, IVS I-110 G>A.
70 | S017344 | No | HBB | NM_000518.5 | 1 | Ligation site ~40 nt after exon 1 | 11p15.4 | chr11:5226864-5226914 | CN |  | HBB region | 2
71 | S013309 | No | HBB | NM_000518.5 | 1 | Ligation site in 5' UTR, ~50 nt before start codon | 11p15.4 | chr11:5227044-5227094 | CN |  |  | 2 |  | RNA
72 | S017331 | No | HBB | NM_000518.5 | Up | Ligation site ~0.1 kb before exon 1 | 11p15.4 | chr11:5227174-5227224 | CN |  |  | 2
73 | S017347 | No | HBB | NM_000518.5 | Up | Ligation site ~0.9 kb before exon 1 | 11p15.4 | chr11:5227944-5227994 | CN |  |  | 2 |  | Depurination-insensitive
74 | S022024 | No | HBD | NM_000519.4 | 3 | Exon | 11p15.4 | chr11:5233014-5233064 | CN |  |  | 2 |  | RNA
75 | S018699 | No | HBD | NM_000519.4 | Up | Ligation site ~0.1 kb before exon 1 | 11p15.4 | chr11:5234554-5234604 | CN |  |  | 2
76 | S018693 | No | HBD | NM_000519.4 | Up | Ligation site ~3.4 kb before exon 1 | 11p15.4 | chr11:5237914-5237964 | CN |  |  | 2
77 | S018694 | No | HBBP1 | NR_001589.1 | 1 | Exon | 11p15.4 | chr11:5243454-5243504 | CN |  |  | 2 |  | RNA
78 | S018696 | No | HBG1 | NM_000559.3 | 3 | Exon | 11p15.4 | chr11:5248364-5248414 | CN |  |  | 2 |  | Low read count; RNA; 1 nt difference | Copy number changes are observed regularly and are probably benign polymorphisms.
79 | S018698 | No | HBG1 | NM_000559.3 | Up | Ligation site ~1.3 kb before HBG1 and ~2.0 kb after HBG2 | 11p15.4 | chr11:5251174-5251224 | CN |  |  | 2 |  |  | Copy number changes are observed regularly and are probably benign polymorphisms.
80 | S018695 | No | HBG2 | NM_000184.3 | 3 | Exon | 11p15.4 | chr11:5253284-5253334 | CN |  |  | 2 |  | Low read count; RNA; 1 nt difference | Copy number changes are observed regularly and are probably benign polymorphisms.
81 | S018697 | No | HBG2 | NM_000184.3 | Up | Ligation site ~1.3 kb before exon 1 | 11p15.4 | chr11:5256104-5256154 | CN |  |  | 2
82 | S018639 | No | HBE1 | NM_005330.4 | 1 | Ligation site ~30 nt before exon 1 | 11p15.4 | chr11:5269954-5270004 | CN |  |  | 2
83 | S018640 | No | HBE1 | NM_005330.4 | Up | Ligation site ~0.2 kb before exon 1 | 11p15.4 | chr11:5270084-5270134 | CN |  |  | 2
84 | S017264 | No | HBB-HS1 | - | - | HS1 region | 11p15.4 | chr11:5276044-5276094 | CN |  |  | 2 |  |  | This probe targets a hypersensitive site (HS) in the Locus Control Region (LCR) of the beta-globin gene cluster.
85 | S017262 | No | HBB-HS2 | - | - | HS2 region | 11p15.4 | chr11:5280594-5280644 | CN |  |  | 2 |  |  | This probe targets a hypersensitive site (HS) in the Locus Control Region (LCR) of the beta-globin gene cluster.
86 | S017261 | No | HBB-HS3 | - | - | HS3 region | 11p15.4 | chr11:5284694-5284744 | CN |  |  | 2 |  |  | This probe targets a hypersensitive site (HS) in the Locus Control Region (LCR) of the beta-globin gene cluster.
87 | S017265 | No | HBB-HS4 | - | - | HS4 region | 11p15.4 | chr11:5288364-5288414 | CN |  |  | 2 |  |  | This probe targets a hypersensitive site (HS) in the Locus Control Region (LCR) of the beta-globin gene cluster.
88 | S017260 | No | HBB-HS5 | - | - | HS5 region | 11p15.4 | chr11:5291364-5291414 | CN |  |  | 2 |  |  | This probe targets a hypersensitive site (HS) in the Locus Control Region (LCR) of the beta-globin gene cluster.
89 | S013371 | No | GJB2 | NM_004004.6 | 2 | Exon | 13q12.11 | chr13:20189241-20189291 | CN/WT | DFNB1 hearing loss | GJB2 & GJB6 & CRYL1 | 2 | WT c.313_326del | Depurination-insensitive | ClinVar ID 44737, rs111033253, K105fs.
90 | S018028 | No | GJB2 | NM_004004.6 | 2 | Exon | 13q12.11 | chr13:20189331-20189381 | CN/WT |  |  | 2 | WT c.235delC |  | Clinvar ID 17014, rs80338943, L79fs.
91 | S013370 | No | GJB2 | NM_004004.6 | 2 | Exon | 13q12.11 | chr13:20189401-20189451 | CN/WT |  |  | 2 | WT c.167delT |  | ClinVar ID 17010, rs80338942, L56fs.
92 | S013367 | No | GJB2 | NM_004004.6 | 2 | Exon | 13q12.11 | chr13:20189461-20189511 | CN/WT |  |  | 2 | WT c.101T |  | ClinVar ID 17000, rs35887622, M34T.
93 | S013372 | No | GJB2 | NM_004004.6 | 2 | Exon | 13q12.11 | chr13:20189531-20189581 | CN/WT |  |  | 2 | WT c.35delG |  | ClinVar ID 17004, rs80338939, G12fs.
94 | S013369 | No | GJB2 | NM_004004.6 | Intr. 1 | Ligation site ~0.1 kb before exon 2 | 13q12.11 | chr13:20189701-20189751 | CN |  |  | 2
95 | S018627 | No | GJB2 | NM_004004.6 | 1 | Ligation site in 5' UTR, start codon located in exon 2 | 13q12.11 | chr13:20192771-20192821 | CN/WT |  |  | 2 | WT c.-23+1G |  | ClinVar ID 17029, rs80338940, IVS I+1G>A.
96 | S018628 | No | GJB2 | NM_004004.6 | 1 | Ligation site in 5' UTR, start codon located in exon 2 | 13q12.11 | chr13:20192841-20192891 | CN |  |  | 2
97 | S013196 | No | GJB6 | NM_001110219.3 | 5 | Exon | 13q12.11 | chr13:20222811-20222861 | CN |  |  | 2
98 | S017417 | No | GJB6 | NM_001110219.3 | 2 | Ligation site in 5' UTR, start codon located in exon 5 | 13q12.11 | chr13:20231411-20231461 | CN |  |  | 2 |  | Pipetting | This probe is within both common GJB6 deletion regions: 232 kb (ClinVar ID 5548) and 309 kb (ClinVar ID 5546).
99 | S013216 | No | CRYL1 | NM_015974.3 | 4 | Exon | 13q12.11 | chr13:20439611-20439661 | CN |  |  | 2 |  |  | This probe is within both common GJB6 deletion regions: 232 kb (ClinVar ID 5548) and 309 kb (ClinVar ID 5546).
100 | S024225 | No | CRYL1 | NM_015974.3 | 2 | Exon | 13q12.11 | chr13:20512481-20512531 | CN |  |  | 2 |  |  | This probe is within the common GJB6 deletion region 309 kb (ClinVar ID 5546).
101 | S019259 | No | HBA-HS40 | - | - | HS40 region | 16p13.3 | chr16:113541-113591 | CN | Alpha-thalassemia | HBA region | 2 |  |  | This probe targets a hypersensitive site (HS) in the HS40 regulatory element of the alpha-globin gene cluster.
102 | S017263 | No | HBA-HS40 | - | - | HS40 region | 16p13.3 | chr16:113781-113831 | CN |  |  | 2 |  |  | This probe targets a hypersensitive site (HS) in the HS40 regulatory element of the alpha-globin gene cluster.
103 | S019652 | No | HBZ region | NM_005332.3 | Up | Ligation site ~9 kb before exon 1 | 16p13.3 | chr16:143651-143701 | CN |  |  | 2
104 | S019257 | No | HBZ region | NM_005332.3 | Up | Ligation site ~3.3 kb before exon 1 | 16p13.3 | chr16:149351-149401 | CN |  |  | 2 |  | Salt
105 | S019653 | No | HBZ | NM_005332.3 | 1 | Ligation site in 5'UTR, ~0.3 kb before start codon | 16p13.3 | chr16:152611-152661 | CN |  |  | 2 |  | Salt
106 | S019258 | No | HBM region | NM_001003938.4 | Down | Ligation site ~0.5 kb after exon 3 | 16p13.3 | chr16:167291-167341 | CN |  |  | 2 |  | Salt
107 | S017342 | No | HBA2 | NM_000517.6 | Up | Ligation site ~3 kb before exon 1 | 16p13.3 | chr16:169811-169861 | CN |  |  | 2 |  | Salt; 1 nt difference | An apparent deletion of this probe + duplication of S017341 (or v.v.) is usually due to a clinically insignificant HBA1-HBA2 gene conversion.
108 | S017340 | No | HBA2 | NM_000517.6 | Up | Ligation site ~2.5 kb before exon 1 | 16p13.3 | chr16:170351-170401 | CN |  |  | 2 |  | Salt; 1 nt difference | An apparent deletion of this probe + duplication of S017345 (or v.v.) is usually due to a clinically insignificant HBA1-HBA2 gene conversion.
109 | S017349 | No | HBA2 | NM_000517.6 | Up | Ligation site ~0.9 kb before exon 1 | 16p13.3 | chr16:171961-172011 | CN |  |  | 2 |  | Salt
110 | S022719 | No | HBA2 | NM_000517.6 | 3 | Exon | 16p13.3 | chr16:173591-173641 | MUT |  | HBA region - MUT | 0 | c.427T>C | Salt; pipetting; RNA | ClinVar ID 15624, rs41464951, *143Q, Hb Constant Spring. Note that this probe cannot distinguish HBA1 from HBA2. Thus, presence of probe signal may also be caused by a sequence change in the HBA1 gene.
111 | S017341 | No | HBA2 | NM_000517.6 | Down | Ligation site ~0.4 kb after HBA2 and ~2.5 kb before HBA1 | 16p13.3 | chr16:174091-174141 | CN |  | HBA region | 2 |  | Depurination-sensitive; 1 nt difference | An apparent deletion of this probe + duplication of S017342 (or v.v.) is usually due to a clinically insignificant HBA1-HBA2 gene conversion.
112 | S017345 | No | HBA2 | NM_000517.6 | Down | Ligation site ~0.9 kb after HBA2 and ~2.0 kb before HBA1 | 16p13.3 | chr16:174581-174631 | CN |  |  | 2 |  | Depurination-sensitive; 1 nt difference | An apparent deletion of this probe + duplication of S017340 (or v.v.) is usually due to a clinically insignificant HBA1-HBA2 gene conversion.
113 | S014159 | No | HBA1 | NM_000558.5 | Up | Ligation site ~1.5 kb before exon 1 | 16p13.3 | chr16:175171-175221 | CN |  |  | 2 |  |  | Note that SNP rs555255920 is located in the target sequence of this probe and can affect the signal.
114 | S013321 | No | HBA1 | NM_000558.5 | Up | Ligation site ~0.9 kb before exon 1 | 16p13.3 | chr16:175741-175791 | CN |  |  | 2
115 | S022720 | No | HBA1&2 | NM_000558.5 & NM_000517.6 | 1 | Ligation site in 5'UTR, ~40 nt before start codon | 16p13.3 | HBA1 chr16:176661-176711 & HBA2 chr16:172861-172911 | CN |  |  | 4 |  | Pipetting; RNA | This probe detects a sequence that is present in both HBA1 and HBA2.
116 | S018438 | No | HBA1&2 | NM_000558.5 & NM_000517.6 | 1 | Exon | 16p13.3 | HBA1 chr16:176741-176791 & HBA2 chr16:172941-172991 | CN |  |  | 4 |  | RNA | This probe detects a sequence that is present in both HBA1 and HBA2.
117 | S017219 | No | HBA1&2 | NM_000558.5 & NM_000517.6 | 3 | Exon | 16p13.3 | HBA1 chr16:177321-177371 & HBA2 chr16:173511-173561 | CN |  |  | 4 |  | RNA | This probe detects a sequence that is present in both HBA1 and HBA2.
118 | S013322 | No | HBA1 | NM_000558.5 | 3 | Ligation site ~70 nt after exon 3 | 16p13.3 | chr16:177571-177621 | CN |  |  | 2
119 | S017333 | No | HBA1 | NM_000558.5 | Down | Ligation site ~0.4 kb after exon 3 | 16p13.3 | chr16:177911-177961 | CN |  |  | 2
120 | S017339 | No | HBA1 | NM_000558.5 | Down | Ligation site ~2.3 kb after exon 3 | 16p13.3 | chr16:179751-179801 | CN |  |  | 2
121 | S018692 | No | HBQ1 | NM_005331.5 | 3 | Ligation site ~20 nt after exon 3 | 16p13.3 | chr16:181181-181231 | CN |  |  | 2
122 | S019261 | No | LUC7L | NM_201412.3 | Intr. 4 | Ligation site ~0.2 kb before exon 5 | 16p13.3 | chr16:206320-206370 | CN |  |  | 2 |  | Flanking
123 | S016666 | No | CLN3 | NM_001042432.2 | 12 | Exon | 16p12.1 | chr16:28482508-28482558 | CN | Juvenile Neuronal Ceroid Lipofuscinosis (CLN3-related) | CLN3 | 2
124 | S016657 | No | CLN3 | NM_001042432.2 | 9 | Exon | 16p12.1 | chr16:28486488-28486538 | CN |  |  | 2 |  |  | This probe is within the common 1.02 kb deletion region (ClinVar ID 3552).
125 | S016646 | No | CLN3 | NM_001042432.2 | 8 | Exon | 16p12.1 | chr16:28486608-28486658 | CN |  |  | 2 |  |  | This probe is within the common 1.02 kb deletion region (ClinVar ID 3552).
126 | S016663 | No | CLN3 | NM_001042432.2 | 5 | Exon | 16p12.1 | chr16:28488638-28488688 | CN |  |  | 2
127 | S018750 | No | CTNS | NM_004937.3 | 1 | Ligation site ~60 nt before exon 1 | 17p13.2 | chr17:3636687-3636737 | CN | Cystinosis | CTNS | 2 |  |  | This probe is within the common 57 kb deletion region (ClinVar ID 4445).
128 | S015422 | No | CTNS | NM_004937.3 | 3 | Exon | 17p13.2 | chr17:3640237-3640287 | CN |  |  | 2 |  |  | This probe is within the common 57 kb deletion region (ClinVar ID 4445).
129 | S015415 | No | CTNS | NM_004937.3 | 5 | Exon | 17p13.2 | chr17:3648837-3648887 | CN |  |  | 2 |  |  | This probe is within the common 57 kb deletion region (ClinVar ID 4445).
130 | S015410 | No | CTNS | NM_004937.3 | 9 | Exon | 17p13.2 | chr17:3656667-3656717 | CN |  |  | 2 |  |  | This probe is within the common 57 kb deletion region (ClinVar ID 4445).
131 | S015420 | No | CTNS | NM_004937.3 | 12 | Ligation site in 3' UTR, ~0.5 kb after stop codon | 17p13.2 | chr17:3660887-3660937 | CN |  |  | 2
132 | S013993 | No | DMD | NM_004006.3 | 79 | Ligation site in 3' UTR, ~2.5 kb after stop codon | Xp21.2 | chrX:31119412-31119462 | CN | Duchenne & Becker Muscular Dystrophy (M or F) | DMD (Male or Female) | 1 (male); 2 (female)
133 | S013995 | No | DMD | NM_004006.3 | 78 | Exon | Xp21.2 | chrX:31126622-31126672 | CN |  |  | 1 (male); 2 (female)
134 | S013996 | No | DMD | NM_004006.3 | 77 | Exon | Xp21.2 | chrX:31134082-31134132 | CN |  |  | 1 (male); 2 (female)
135 | S013998 | No | DMD | NM_004006.3 | 76 | Exon | Xp21.2 | chrX:31146292-31146342 | CN |  |  | 1 (male); 2 (female)
136 | S014001 | No | DMD | NM_004006.3 | 75 | Exon | Xp21.2 | chrX:31147462-31147512 | CN |  |  | 1 (male); 2 (female)
137 | S014004 | No | DMD | NM_004006.3 | 74 | Exon | Xp21.2 | chrX:31169562-31169612 | CN |  |  | 1 (male); 2 (female)
138 | S014006 | No | DMD | NM_004006.3 | 73 | Exon | Xp21.2 | chrX:31172392-31172442 | CN |  |  | 1 (male); 2 (female)
139 | S014007 | No | DMD | NM_004006.3 | 72 | Exon | Xp21.2 | chrX:31173522-31173572 | CN |  |  | 1 (male); 2 (female)
140 | S014009 | No | DMD | NM_004006.3 | 71 | Exon | Xp21.2 | chrX:31177942-31177992 | CN |  |  | 1 (male); 2 (female)
141 | S014011 | No | DMD | NM_004006.3 | 70 | Exon | Xp21.2 | chrX:31178782-31178832 | CN |  |  | 1 (male); 2 (female)
142 | S014012 | No | DMD | NM_004006.3 | 69 | Exon | Xp21.2 | chrX:31180362-31180412 | CN |  |  | 1 (male); 2 (female)
143 | S014015 | No | DMD | NM_004006.3 | 68 | Exon | Xp21.2 | chrX:31182872-31182922 | CN |  |  | 1 (male); 2 (female)
144 | S014017 | No | DMD | NM_004006.3 | 67 | Exon | Xp21.2 | chrX:31204092-31204142 | CN |  |  | 1 (male); 2 (female)
145 | S014018 | No | DMD | NM_004006.3 | 66 | Exon | Xp21.2 | chrX:31206582-31206632 | CN |  |  | 1 (male); 2 (female)
146 | S014020 | No | DMD | NM_004006.3 | 65 | Exon | Xp21.2 | chrX:31209482-31209532 | CN |  |  | 1 (male); 2 (female) |  |  | A lower probe read count can be due to a DMD exon 65 deletion or to the rare c.9551dup (ClinVar ID 217219, rs863225017, N3184fs).
147 | S014022 | No | DMD | NM_004006.3 | 64 | Ligation site ~60 nt after exon 64 | Xp21.2 | chrX:31222962-31223012 | CN |  |  | 1 (male); 2 (female)
148 | S014025 | No | DMD | NM_004006.3 | 63 | Exon | Xp21.2 | chrX:31260992-31261042 | CN |  |  | 1 (male); 2 (female)
149 | S014026 | No | DMD | NM_004006.3 | 62 | Exon | Xp21.2 | chrX:31323572-31323622 | CN |  |  | 1 (male); 2 (female)
150 | S014027 | No | DMD | NM_004006.3 | 61 | Exon | Xp21.2 | chrX:31348602-31348652 | CN |  |  | 1 (male); 2 (female)
151 | S014029 | No | DMD | NM_004006.3 | 60 | Exon | Xp21.2 | chrX:31444542-31444592 | CN |  |  | 1 (male); 2 (female)
152 | S014032 | No | DMD | NM_004006.3 | 59 | Exon | Xp21.2 | chrX:31478322-31478372 | CN |  |  | 1 (male); 2 (female)
153 | S014034 | No | DMD | NM_004006.3 | 58 | Exon | Xp21.2 | chrX:31479052-31479102 | CN |  |  | 1 (male); 2 (female)
154 | S014035 | No | DMD | NM_004006.3 | 57 | Exon | Xp21.2 | chrX:31496792-31496842 | CN |  |  | 1 (male); 2 (female)
155 | S014037 | No | DMD | NM_004006.3 | 56 | Exon | Xp21.1 | chrX:31507342-31507392 | CN |  |  | 1 (male); 2 (female)
156 | S014041 | No | DMD | NM_004006.3 | 55 | Exon | Xp21.1 | chrX:31627842-31627892 | CN |  |  | 1 (male); 2 (female)
157 | S014042 | No | DMD | NM_004006.3 | 54 | Exon | Xp21.1 | chrX:31658012-31658062 | CN |  |  | 1 (male); 2 (female)
158 | S014045 | No | DMD | NM_004006.3 | 53 | Exon | Xp21.1 | chrX:31679522-31679572 | CN |  |  | 1 (male); 2 (female)
159 | S014046 | No | DMD | NM_004006.3 | 52 | Exon | Xp21.1 | chrX:31729612-31729662 | CN |  |  | 1 (male); 2 (female)
160 | S014048 | No | DMD | NM_004006.3 | 51 | Exon | Xp21.1 | chrX:31773962-31774012 | CN |  |  | 1 (male); 2 (female)
161 | S014050 | No | DMD | NM_004006.3 | 50 | Exon | Xp21.1 | chrX:31819962-31820012 | CN |  |  | 1 (male); 2 (female)
162 | S014052 | No | DMD | NM_004006.3 | 49 | Exon | Xp21.1 | chrX:31836692-31836742 | CN |  |  | 1 (male); 2 (female)
163 | S014054 | No | DMD | NM_004006.3 | 48 | Exon | Xp21.1 | chrX:31875192-31875242 | CN |  |  | 1 (male); 2 (female)
164 | S014056 | No | DMD | NM_004006.3 | 47 | Exon | Xp21.1 | chrX:31929582-31929632 | CN |  |  | 1 (male); 2 (female)
165 | S014059 | No | DMD | NM_004006.3 | 46 | Exon | Xp21.1 | chrX:31932102-31932152 | CN |  |  | 1 (male); 2 (female)
166 | S014060 | No | DMD | NM_004006.3 | 45 | Exon | Xp21.1 | chrX:31968322-31968372 | CN |  |  | 1 (male); 2 (female)
167 | S014062 | No | DMD | NM_004006.3 | 44 | Exon | Xp21.1 | chrX:32216902-32216952 | CN |  |  | 1 (male); 2 (female)
168 | S014065 | No | DMD | NM_004006.3 | 43 | Exon | Xp21.1 | chrX:32287622-32287672 | CN |  |  | 1 (male); 2 (female)
169 | S014066 | No | DMD | NM_004006.3 | 42 | Exon | Xp21.1 | chrX:32310062-32310112 | CN |  |  | 1 (male); 2 (female)
170 | S014069 | No | DMD | NM_004006.3 | 41 | Exon | Xp21.1 | chrX:32342262-32342312 | CN |  |  | 1 (male); 2 (female)
171 | S014070 | No | DMD | NM_004006.3 | 40 | Exon | Xp21.1 | chrX:32343222-32343272 | CN |  |  | 1 (male); 2 (female)
172 | S014071 | No | DMD | NM_004006.3 | 39 | Exon | Xp21.1 | chrX:32345992-32346042 | CN |  |  | 1 (male); 2 (female)
173 | S014072 | No | DMD | NM_004006.3 | 38 | Exon | Xp21.1 | chrX:32348382-32348432 | CN |  |  | 1 (male); 2 (female)
174 | S014075 | No | DMD | NM_004006.3 | 37 | Exon | Xp21.1 | chrX:32362842-32362892 | CN |  |  | 1 (male); 2 (female)
175 | S014077 | No | DMD | NM_004006.3 | 36 | Exon | Xp21.1 | chrX:32364602-32364652 | CN |  |  | 1 (male); 2 (female)
176 | S014080 | No | DMD | NM_004006.3 | 35 | Exon | Xp21.1 | chrX:32364982-32365032 | CN |  |  | 1 (male); 2 (female)
177 | S014081 | No | DMD | NM_004006.3 | 34 | Exon | Xp21.1 | chrX:32380522-32380572 | CN |  |  | 1 (male); 2 (female)
178 | S014084 | No | DMD | NM_004006.3 | 33 | Exon | Xp21.1 | chrX:32386392-32386442 | CN |  |  | 1 (male); 2 (female)
179 | S014085 | No | DMD | NM_004006.3 | 32 | Exon | Xp21.1 | chrX:32389482-32389532 | CN |  |  | 1 (male); 2 (female)
180 | S014088 | No | DMD | NM_004006.3 | 31 | Exon | Xp21.1 | chrX:32390122-32390172 | CN |  |  | 1 (male); 2 (female)
181 | S014089 | No | DMD | NM_004006.3 | 30 | Exon | Xp21.1 | chrX:32411802-32411852 | CN |  |  | 1 (male); 2 (female)
182 | S014091 | No | DMD | NM_004006.3 | 29 | Exon | Xp21.1 | chrX:32438222-32438272 | CN |  |  | 1 (male); 2 (female)
183 | S014093 | No | DMD | NM_004006.3 | 28 | Exon | Xp21.1 | chrX:32441182-32441232 | CN |  |  | 1 (male); 2 (female)
184 | S014095 | No | DMD | NM_004006.3 | 27 | Exon | Xp21.1 | chrX:32448462-32448512 | CN |  |  | 1 (male); 2 (female)
185 | S014098 | No | DMD | NM_004006.3 | 26 | Exon | Xp21.1 | chrX:32454722-32454772 | CN |  |  | 1 (male); 2 (female)
186 | S014099 | No | DMD | NM_004006.3 | 25 | Exon | Xp21.1 | chrX:32463422-32463472 | CN |  |  | 1 (male); 2 (female)
187 | S014101 | No | DMD | NM_004006.3 | 24 | Exon | Xp21.1 | chrX:32464672-32464722 | CN |  |  | 1 (male); 2 (female)
188 | S017226 | No | DMD | NM_004006.3 | 23 | Exon | Xp21.1 | chrX:32468652-32468702 | CN |  |  | 1 (male); 2 (female)
189 | S014105 | No | DMD | NM_004006.3 | 22 | Exon | Xp21.1 | chrX:32472212-32472262 | CN |  |  | 1 (male); 2 (female)
190 | S014107 | No | DMD | NM_004006.3 | 21 | Exon | Xp21.1 | chrX:32485072-32485122 | CN |  |  | 1 (male); 2 (female)
191 | S014108 | No | DMD | NM_004006.3 | 20 | Exon | Xp21.1 | chrX:32491372-32491422 | CN |  |  | 1 (male); 2 (female)
192 | S017632 | No | DMD | NM_004006.3 | 19 | Exon | Xp21.1 | chrX:32501812-32501862 | CN |  |  | 1 (male); 2 (female)
193 | S017627 | No | DMD | NM_004006.3 | 18 | Exon | Xp21.1 | chrX:32518042-32518092 | CN |  |  | 1 (male); 2 (female)
194 | S014112 | No | DMD | NM_004006.3 | 17 | Exon | Xp21.1 | chrX:32545142-32545192 | CN |  |  | 1 (male); 2 (female) |  | depurination-sensitive
195 | S014114 | No | DMD | NM_004006.3 | 16 | Exon | Xp21.1 | chrX:32565702-32565752 | CN |  |  | 1 (male); 2 (female)
196 | S014116 | No | DMD | NM_004006.3 | 15 | Exon | Xp21.1 | chrX:32573512-32573562 | CN |  |  | 1 (male); 2 (female)
197 | S014117 | No | DMD | NM_004006.3 | 14 | Exon | Xp21.1 | chrX:32573822-32573872 | CN |  |  | 1 (male); 2 (female)
198 | S014120 | No | DMD | NM_004006.3 | 13 | Exon | Xp21.1 | chrX:32595822-32595872 | CN |  |  | 1 (male); 2 (female)
199 | S014121 | No | DMD | NM_004006.3 | 12 | Exon | Xp21.1 | chrX:32614322-32614372 | CN |  |  | 1 (male); 2 (female)
200 | S017634 | No | DMD | NM_004006.3 | 11 | Exon | Xp21.1 | chrX:32644152-32644202 | CN |  |  | 1 (male); 2 (female)
201 | S017629 | No | DMD | NM_004006.3 | 10 | Exon | Xp21.1 | chrX:32644982-32645032 | CN |  |  | 1 (male); 2 (female)
202 | S014128 | No | DMD | NM_004006.3 | 9 | Exon | Xp21.1 | chrX:32697962-32698012 | CN |  |  | 1 (male); 2 (female)
203 | S014130 | No | DMD | NM_004006.3 | 8 | Exon | Xp21.1 | chrX:32699252-32699302 | CN |  |  | 1 (male); 2 (female)
204 | S014131 | No | DMD | NM_004006.3 | 7 | Exon | Xp21.1 | chrX:32809482-32809532 | CN |  |  | 1 (male); 2 (female)
205 | S014133 | No | DMD | NM_004006.3 | 6 | Exon | Xp21.1 | chrX:32816522-32816572 | CN |  |  | 1 (male); 2 (female)
206 | S014134 | No | DMD | NM_004006.3 | 5 | Exon | Xp21.1 | chrX:32823272-32823322 | CN |  |  | 1 (male); 2 (female)
207 | S014137 | No | DMD | NM_004006.3 | 4 | Exon | Xp21.1 | chrX:32844792-32844842 | CN |  |  | 1 (male); 2 (female)
208 | S014138 | No | DMD | NM_004006.3 | 3 | Exon | Xp21.1 | chrX:32849722-32849772 | CN |  |  | 1 (male); 2 (female)
209 | S014141 | No | DMD | NM_004006.3 | 2 | Exon | Xp21.1 | chrX:33020112-33020162 | CN |  |  | 1 (male); 2 (female)
210 | S014143 | No | DMD | NM_004006.3 | 1 | Ligation site in 5' UTR,~ 0.2 kb before start codon | Xp21.1 | chrX:33211512-33211562 | CN |  |  | 1 (male); 2 (female) |  |  | An apparent deletion of this probe targeting exon 1 of transcript variant Dp427m may be associated with dilated cardiomyopathy (PMID: 8361506).
211 | S011022 | Yes | SPAG17 | - | - | - | 01p12 | - | CN | Reference probes | Reference probes | 2
212 | S011026 | Yes | NUP210L | - | - | - | 01q21.3 | - | CN |  |  | 2
213 | S013049 | Yes | ADSS2 | - | - | - | 01q44 | - | CN |  |  | 2
214 | S011031 | Yes | SCN1A | - | - | - | 02q24.3 | - | CN |  |  | 2
215 | S012953 | Yes | TRNT1 | - | - | - | 03p26.2 | - | CN |  |  | 2
216 | S013175 | Yes | SUMF1 | - | - | - | 03p26.1 | - | CN |  |  | 2
217 | S011034 | Yes | NEK10 | - | - | - | 03p24.1 | - | CN |  |  | 2
218 | S011036 | Yes | CPOX | - | - | - | 03q11.2 | - | CN |  |  | 2
219 | S011038 | Yes | SLC9A9 | - | - | - | 03q24 | - | CN |  |  | 2
220 | S011039 | Yes | KCNIP4 | - | - | - | 04p15.31 | - | CN |  |  | 2
221 | S013190 | Yes | NSUN2 | - | - | - | 05p15.31 | - | CN |  |  | 2
222 | S011048 | Yes | IL31RA | - | - | - | 05q11.2 | - | CN |  |  | 2
223 | S011047 | Yes | MIER3 | - | - | - | 05q11.2 | - | CN |  |  | 2
224 | S011049 | Yes | MYOT | - | - | - | 05q31.2 | - | CN |  |  | 2
225 | S012993 | Yes | MAPK9 | - | - | - | 05q35.3 | - | CN |  |  | 2
226 | S011051 | Yes | ZFP57 | - | - | - | 06p22.1 | - | CN |  |  | 2
227 | S011050 | Yes | PRIM2 | - | - | - | 06p11.2 | - | CN |  |  | 2
228 | S011057 | Yes | RAPGEF5 | - | - | - | 07p15.3 | - | CN |  |  | 2
229 | S014303 | Yes | LANCL2 | - | - | - | 07p11.2 | - | CN |  |  | 2
230 | S011061 | Yes | IFRD1 | - | - | - | 07q31.1 | - | CN |  |  | 2
231 | S011062 | Yes | GSR | - | - | - | 08p12 | - | CN |  |  | 2
232 | S011066 | Yes | CHD7 | - | - | - | 08q12.2 | - | CN |  |  | 2
233 | S011068 | Yes | RMDN1 | - | - | - | 08q21.3 | - | CN |  |  | 2
234 | S011071 | Yes | BNC2 | - | - | - | 09p22.3 | - | CN |  |  | 2
235 | S011073 | Yes | TRPM3 | - | - | - | 09q21.12 | - | CN |  |  | 2
236 | S011074 | Yes | ALDOB | - | - | - | 09q31.1 | - | CN |  |  | 2
237 | S011076 | Yes | NMT2 | - | - | - | 10p13 | - | CN |  |  | 2
238 | S011078 | Yes | MARCHF8 | - | - | - | 10q11.21 | - | CN |  |  | 2
239 | S011080 | Yes | KAT6B | - | - | - | 10q22.2 | - | CN |  |  | 2
240 | S011081 | Yes | ANO5 | - | - | - | 11p14.3 | - | CN |  |  | 2
241 | S013063 | Yes | WNK1 | - | - | - | 12p13.33 | - | CN |  |  | 2
242 | S011084 | Yes | FAR2 | - | - | - | 12p11.22 | - | CN |  |  | 2
243 | S010040 | Yes | KIF21A | - | - | - | 12q12 | - | CN |  |  | 2
244 | S014297 | Yes | NELL2 | - | - | - | 12q12 | - | CN |  |  | 2
245 | S011087 | Yes | SLC17A8 | - | - | - | 12q23.1 | - | CN |  |  | 2
246 | S014299 | Yes | VPS36 | - | - | - | 13q14.3 | - | CN |  |  | 2
247 | S013121 | Yes | ARHGEF7 | - | - | - | 13q34 | - | CN |  |  | 2
248 | S013151 | Yes | GRK1 | - | - | - | 13q34 | - | CN |  |  | 2
249 | S011090 | Yes | CHD8 | - | - | - | 14q11.2 | - | CN |  |  | 2
250 | S011091 | Yes | DDHD1 | - | - | - | 14q22.1 | - | CN |  |  | 2
251 | S011092 | Yes | SAMD4A | - | - | - | 14q22.2 | - | CN |  |  | 2
252 | S011094 | Yes | VPS13C | - | - | - | 15q22.2 | - | CN |  |  | 2
253 | S013163 | Yes | CHSY1 | - | - | - | 15q26.3 | - | CN |  |  | 2
254 | S011097 | Yes | CPPED1 | - | - | - | 16p13.12 | - | CN |  |  | 2
255 | S010065 | Yes | GPT2 | - | - | - | 16q11.2 | - | CN |  |  | 2
256 | S011101 | Yes | DUS2 | - | - | - | 16q22.1 | - | CN |  |  | 2
257 | S011103 | Yes | USP43 | - | - | - | 17p13.1 | - | CN |  |  | 2
258 | S011106 | Yes | MED13 | - | - | - | 17q23.2 | - | CN |  |  | 2
259 | S011107 | Yes | SPIRE1 | - | - | - | 18p11.21 | - | CN |  |  | 2
260 | S013070 | Yes | TGM6 | - | - | - | 20p13 | - | CN |  |  | 2
261 | S011120 | Yes | PLCB4 | - | - | - | 20p12.2 | - | CN |  |  | 2
262 | S011127 | Yes | ITSN1 | - | - | - | 21q22.11 | - | CN |  |  | 2
263 | S014304 | Yes | GAB4 | - | - | - | 22q11.1 | - | CN |  |  | 2
264 | S013069 | Yes | TRMU | - | - | - | 22q13.31 | - | CN |  |  | 2