## Sheet1
Please note: this interpretation table is meant as an aid only. MLPA users are responsible for the correct interpretation of their results, and no rights can be derived from this table.
Probe number | Target | Exon | length (nt) | Table 1: Expected probe ratios for predicted polymorphisms in the HBA region | [13 empty] | Table 2: Expected final ratios for common - 3.7 and - 4.2 HBA heterozygous deletion/duplication types | [10 empty] | Table 3: Expected final ratios for common heterozygous HBA deletion types and the Constant Spring (CS) mutation | [8 empty] | Table 4: Selected examples of HBA deletions/duplications | [13 empty] | Table 5: Interpretation aid of example 5 in Table 4 : ααα anti 3.7 (A) + polymorphism 4A
|  |  |  | Polym 1A | Polym 1B | Polym 2A | Polym 2B | Polym 3A | Polym 3B | Polym 4A | Polym 4B | Polym 5A | Polym 5B | African polym 1 [1] | African polym 2 [1] | Asian polym [2] | Asian polym + polym 3B | -α 3.7 (A) | -α 3.7 (B) | -α 3.7 (C) | -α 3.7 (D) | -α 3.7 (E) | -α 3.7 (F) | -α 4.2 (A) | -α 4.2 (B) | -α 4.2 (C) | ααα anti 3.7 (A) | ααα anti 3.7 (F) | --SEA | --MED1 | --MED2 [ 2 ] | (-a)20.5 | --FIL | --THAI | --Dutch1 | del HS-40 | CS | 1 | 2 | 3 | 4 | 5 (see Table 5) | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Copy number healthy individual | Polym 4A | ααα anti 3.7(A) | Copy number patient | Final ratio
19236-L25316 | POLR3K |  | 463 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 |  |  | 2 | 1
04799-L04797 | HBA region | HS-40 | 178 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 |  |  | 2 | 1
04800-L04175 | HBA region | HS-40 | 382 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 |  |  | 2 | 1
04926-L23886 | HBZ region | Upstream (9.0 kb before HBZ) | 364 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 |  |  | 2 | 1
04622-L04001 | HBZ region | Upstream (3.3 kb before HBZ) | 346 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.5 | 1 | 1 | 1 | 0.5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 |  |  | 2 | 1
17214-SP0457-L20489 | HBZ | Exon 1 | 436 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.5 | 1 | 0.5 | 0.5 | 0.5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 |  |  | 2 | 1
04624-L04004 | HBZP1 region | Between HBZ & HBZP1 | 292 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.5 | 0.5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 1 | 1 | 1 | 0.5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 |  |  | 2 | 1
04637-L04018 | HBM region | Downstream HBM | 184 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.5 | 0.5 | 1 | 1 | 2 |  |  | 2 | 1
18097-L22521 | HBA2 region | Upstream (3.0 kb before HBA2) | 391 | 0.5 | 1.5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.5 | 1 | 1 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.5 | 1 | 1 | 1 | 0.5 | 0.5 | 1 | 1 | 2 |  |  | 2 | 1
18090-L08415 | HBA2 region | Upstream (2.5 kb before HBA2) | 373 | 1 | 1 | 0.5 | 1.5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.5 | 0.5 | 1 | 1 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 1 | 1 | 1 | 1 | 1 | 1.5 | 1 | 1 | 0 | 1 | 1 | 1 | 0.5 | 0.5 | 1 | 1 | 2 |  |  | 2 | 1
18098-L22522 | HBA2 region | Upstream (0.9 kb before HBA2) | 147 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.5 | 0.5 | 0.5 | 1 | 1 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0.5 | 0.5 | 1 | 1 | 2 |  |  | 2 | 1
18092-L22516 | HBA2 region | Upstream (0.6 kb before HBA2) | 328 | 1 | 1 | 1 | 1 | 0.5 | 1.5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.5 | 1 | 1 | 1 | 1 | 1 | 0.5 | 0.5 | 0.5 | 0.5 | 1 | 1.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 1 | 1 | 1.5 | 1.5 | 1 | 1 | 1 | 1 | 0.5 | 1 | 1 | 0.5 | 0.5 | 0.5 | 1 | 1.5 | 2 |  |  | 2 | 1
18099-L22524 | HBA1&2 | Exon 1 | 220 » | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.75 | 0.75 | 0.75 | 0.75 | 0.5 | 0.75 | 0.75 | 0.75 | 0.75 | 1.25 | 1.25 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 1 | 1 | 0.75 | 0.75 | 0.75 | 0.75 | 1.25 | 0.5 | 0.5 | 0.25 | 0.25 | 0.5 | 0.25 | 0.75 | 1.5 | 1 | 4 |  |  | 5 | 1.25
18881-L06288 | HBA1&2 | Exon 1 | 214 » | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.75 | 0.75 | 0.75 | 0.75 | 0.75 | 0.75 | 0.75 | 0.75 | 0.75 | 1.25 | 1.25 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 1 | 1 | 0.75 | 0.75 | 0.75 | 0.75 | 1.25 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.25 | 0.75 | 1.5 | 1 | 4 |  |  | 5 | 1.25
08498-L08422 | HBA2 | Intron 2 | 160 | 1 | 1 | 1 | 1 | 1 | 1 | 0.5 | 1.5 | 1 | 1 | 0.5 | 1.5 | 1 | 1 | 1 | 1 | 1 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 1 | 1.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 1 | 1 | 0.5 | 0.5 | 0 | 0 | 0.5 | 0 | 0 | 0.5 | 1 | 0 | 0 | 1 | 2 | 1 | 2 | -1 copy |  | 1 | 0.5
04633-L23748 | HBA2 | Intron 2 | 244 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.5 | 1.5 | 0.5 | 1.5 | 1 | 1 | 1 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 1 | 1.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 1 | 1 | 0.5 | 0.5 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 1 | 2 |  |  | 2 | 1
15857-L21812 | HBA1&2 | Exon 3 | 172 » | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.75 | 0.75 | 0.75 | 0.75 | 0.75 | 0.75 | 0.75 | 0.75 | 0.75 | 1.25 | 1.25 | 0.5 | 0.5 | 0.5 | 0.75 | 0.5 | 0.5 | 0.5 | 1 | 1 | 0.75 | 0.75 | 0.75 | 0.75 | 1.25 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.25 | 0.75 | 1.5 | 1 | 4 |  |  | 5 | 1.25
18096-L22520 | HBA1 region | (0.4 kb after HBA2 and 2.5 kb before HBA1) | 190 | 1.5 | 0.5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 1 | 1.5 | 1.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 1 | 1 | 0.5 | 0.5 | 0.5 | 0.5 | 1.5 | 0 | 0.5 | 0 | 0 | 0 | 0 | 1 | 2 | 1 | 2 |  | +1 copy | 3 | 1.5
18880-L24428 | HBA1 region | (0.9 kb after HBA2 and 2.0 kb before HBA1) | 202 | 1 | 1 | 1.5 | 0.5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 1 | 1 | 1.5 | 1.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 1 | 1 | 0.5 | 0.5 | 0.5 | 0 | 1.5 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 2 | 1 | 2 |  | +1 copy | 3 | 1.5
08494-L08417 | HBA1 region | Upstream (1.5 kb before HBA1) | 256 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 1 | 1 | 1 | 1.5 | 1.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 1 | 1 | 0.5 | 0.5 | 0.5 | 0.5 | 1.5 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 2 | 1 | 2 |  | +1 copy | 3 | 1.5
14855-L23604 | HBA1 region | Upstream (0.9 kb before HBA1) | 337 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 1 | 1 | 1 | 1.5 | 1.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 1 | 1 | 0.5 | 0.5 | 0.5 | 0.5 | 1.5 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 2 | 1 | 2 |  | +1 copy | 3 | 1.5
18093-L22517 | HBA1 region | Upstream (0.6 kb before HBA1) | 226 | 1 | 1 | 1 | 1 | 1.5 | 0.5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 1 | 1 | 1 | 1 | 1.5 | 1 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 1 | 1 | 0 | 0 | 0.5 | 0.5 | 1.5 | 0 | 0.5 | 0 | 0 | 0.5 | 0 | 1 | 2 | 0.5 | 2 |  | +1 copy | 3 | 1.5
18099-L22524 | HBA1&2 | Exon 1 | 220 » | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.75 | 0.75 | 0.75 | 0.75 | 0.5 | 0.75 | 0.75 | 0.75 | 0.75 | 1.25 | 1.25 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 1 | 1 | 0.75 | 0.75 | 0.75 | 0.75 | 1.25 | 0.5 | 0.5 | 0.25 | 0.25 | 0.5 | 0.25 | 0.75 | 1.5 | 1 | 4 |  | +1 copy | 5 | 1.25
18881-L06288 | HBA1&2 | Exon 1 | 214 » | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.75 | 0.75 | 0.75 | 0.75 | 0.75 | 0.75 | 0.75 | 0.75 | 0.75 | 1.25 | 1.25 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 1 | 1 | 0.75 | 0.75 | 0.75 | 0.75 | 1.25 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.25 | 0.75 | 1.5 | 1 | 4 |  | +1 copy | 5 | 1.25
08498-L21607 | HBA1 | Intron 2 | 165 | 1 | 1 | 1 | 1 | 1 | 1 | 1.5 | 0.5 | 1 | 1 | 1.5 | 0.5 | 1 | 1 | 0.5 | 0.5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.5 | 1 | 0.5 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 0.5 | 1 | 1 | 1 | 1 | 1.5 | 1.5 | 2 | 1 | 1 | 0.5 | 0 | 1 | 0.5 | 0.5 | 1 | 1 | 2 | +1 copy | +1 copy | 4 | 2
04633-L23600 | HBA1 | Intron 2 | 250 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.5 | 0.5 | 1.5 | 0.5 | 1 | 1 | 0.5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.5 | 1 | 0.5 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 0.5 | 1 | 1 | 1 | 1 | 1.5 | 1.5 | 1.5 | 1 | 1 | 1 | 1 | 1 | 0.5 | 0.5 | 1 | 1 | 2 |  | +1 copy | 3 | 1.5
15857-L21812 | HBA1&2 | Exon 3 | 172 » | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.75 | 0.75 | 0.75 | 0.75 | 0.75 | 0.75 | 0.75 | 0.75 | 0.75 | 1.25 | 1.25 | 0.5 | 0.5 | 0.5 | 0.75 | 0.5 | 0.5 | 0.5 | 1 | 1 | 0.75 | 0.75 | 0.75 | 0.75 | 1.25 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.25 | 0.75 | 1.5 | 1 | 4 |  | +1 copy | 5 | 1.25
08499-L23594 | HBA1 | Downstream (0.1 kb after HBA1) | 154 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.5 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 0.5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.5 | 0.5 | 1 | 1 | 2 |  |  | 2 | 1
04638-L23602 | HBA1 region | Downstream (0.4 kb after HBA1) | 283 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.5 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 0.5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.5 | 0.5 | 1 | 1 | 2 |  |  | 2 | 1
04639-L04020 | HBA1 region | Downstream (2.3 kb after HBA1) | 310 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.5 | 0.5 | 1 | 1 | 0.5 | 0.5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.5 | 0.5 | 1 | 1 | 2 |  |  | 2 | 1
19233-L25313 | HBQ1 | Exon 3 | 400 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.5 | 1 | 1 | 1 | 0.5 | 0.5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.5 | 0.5 | 1 | 1 | 2 |  |  | 2 | 1
15859-L21960 | LUC7L |  | 277 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 |  |  | 2 | 1
17227-L20554 | ITFG3 |  | 445 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 |  |  | 2 | 1
18102-L20488 | RGS11 |  | 472 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 |  |  | 2 | 1
17212-L13393 | AXIN1 |  | 418 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 |  |  | 2 | 1
17613-L23601 | DECR2 |  | 262 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 |  |  | 2 | 1
S0585-SP0043-L09493 | HBA2 Constant Spring | Exon 3 | 136 ˄ | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | >10% | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Table Description (clear box) |  |  |  | Due to the very high homology and close proximity of the HBA1 and HBA2 genes sequence exchange (gene conversion) frequently occur. In some healthy individuals the HBA2 sequence is therefore changed into the HBA1 sequence or vice versa, without any clinical consequences. Examples of the resulting benign polymorphisms are indicated in the Table 1 above. For specific information on the polymorphisms see Table 1B below. Please note that not all of these predicted polymorphisms have been observed in research samples tested at MRC Holland. [1] As SALSA MLPA Probemix P140 HBA can only detect a limited number of specific sequences, we describe the African polymorphisms as two separate small changes, even though they are expected to be due to gene conversion events spanning a larger region. For more information see: Zorai A et al. (2002). Molecular spectrum of alpha-thalassemia in Tunisia: epidemiology and detection at birth. Hemoglobin. 26:353-362. [2] The Asian polymorphism is a benign polymorphism that has been reported to be deleted/duplicated in several individuals from Southeast Asia. The exact breakpoint boundaries are currently unknown, but seem to cover at least position 20361-23609 of the GenBank NG_000006.1 reference sequence. | [13 empty] | There are many similar -α 3.7 and -α4.2 deletions with different breakpoints. The same holds true for α triplications. To the best of our knowledge, distinguishing the various -α3.7 and -α4.2 deletions and complementary duplications has no clinical significance. The different deletions and duplications are indicated as type A-F for clarity. Please note that these types are not part of the official nomenclature. In example -α 3.7 (E), the deletion breakpoints are likely located within the sequence detected by the 220 nt probe, thereby eliminating two of the four sequence copies detected by this probe. As a result, the final ratio for the 172 and 214 nt probes is 0.75 (4>3 copies), while the 220 nt probe shows a final ratio of 0.5 (4>2 copies). | [10 empty] | [2] The approximate breakpoints of the –Med2 deletion have been described by: Kutlar F et al. (1989). The levels of ζ, γ, and δ chains in patients with Hb H disease. Hum Genet. 82:179-86. This table is courtesy of dr. C.L. Harteveld and A.C. Schaap, Leiden University Medical Centre, Leiden, The Netherlands. | [8 empty] | Copy number changes are indicated in grey , polymorphisms are indicated in blue. The results can be explained by the genotypes described below. Please note that other explanations are possible in some cases. Monoallelic rearrangements + polymorphisms (see Tables 1 and 2 for help): 1) -α 3.7 (D) + polymorphism 3B (328 nt probe: one extra copy; 226 nt probe: one copy less) 2) -α 3.7 (D) + polymorphism 3B (328 nt probe: one extra copy; 226 nt probe: one copy less) + Asian polymorphism 3) -α 3.7(D) + African polymorphism 1 (165 & 250 nt probes: one extra copy; 160 & 244 nt probes: one copy less). 4) -α 3.7 (D) + African polymorphism 1 (165 & 250 nt probes: one extra copy; 160 & 244 nt probes: one copy less) + polymorphism 2B (373 nt probe: one extra copy; 202 nt probe: one copy less) 5) ααα anti 3.7 (A) + polymorphism 4A (165 nt probe: one extra copy; 160 nt probe: one copy less) -> See Table 5 for help Biallelic rearrangements (see Tables 1 and 2 for help): 6) -α 3.7 (D) / -α 3.7 (D) 7) -α 4.2 (B) / -α 4.2 (C) + polymorphism 3B (328 nt probe: one extra copy; 226 nt probe: one copy less) 8) -α 3.7 (B) / -α 3.7 (E) 9) -α 3.7 (B) / -α 3.7 (E) + polymorphism 4B (160 nt probe: one extra copy; 165 nt probe: one copy less) 10) -α 3.7 (D) / -α 3.7 (F) 11) -α 3.7 (D) / --SEA deletion 12) ααα anti 3.7 (D) / --SEA deletion 13) ααα anti 3.7 (D) / ααα anti 3.7 (D) OR ααααanti‑3.7/αα 14) Theoretical example: this looks like polymorphism 3B (328 nt probe: one extra copy; 226 nt probe: one copy less), but could also be -α 3.7 (D) / ααα anti 3.7 (F) ! | [13 empty] | To obtain the final copy number in the patient sample, you need to count the number of copies detected by a particular probe. The final ratio obtained after data analysis is the copy number in the patient sample divided by the copy number in samples of healthy individuals. Copy number changes are indicated in grey , polymorphisms are indicated in blue. Additional tables explaining the other examples in Table 4 are available upon request: info@mrcholland.com .
» The 172 nt, 214 nt and 220 nt probes detect sequences that are present in both HBA1 and HBA2. Deletions/duplications affecting one of the target sequences of these probes results in a 20-25% decrease/increase in probe signal intensity. This occurs for the 172 nt probe in Table 3. These probes are mentioned twice in the Table. ˄ Coffalyser.Net displays the final ratio of the Hb Constant Spring mutation-specific probe as a percentage. This percentage indicates the height of the probe signal normalized by the average signal of the reference probes. The mutation specific probe will give a percentage of 0-10% in negative samples and a percentage of >10% in positive samples. The percentage obtained for the mutation-specific probe can vary between samples and does not determine whether the mutation is present in heterozygous or homozygous state.
» The 172 nt, 214 nt and 220 nt probes detect sequences that are present in both HBA1 and HBA2. Deletions/duplications affecting one of the target sequences of these probes results in a 20-25% decrease/increase in probe signal intensity. These probes are mentioned twice in the Table.
Applicable probe warnings See column D -> lengths (nt) (light grey box) | [17 empty] | » The 172 nt, 214 nt and 220 nt probes detect sequences that are present in both HBA1 and HBA2. Deletions/duplications affecting one of the target sequences of these probes results in a 20-25% decrease/increase in probe signal intensity. These probes are mentioned twice in the Table.
» The 172 nt, 214 nt and 220 nt probes detect sequences that are present in both HBA1 and HBA2. These probes are mentioned twice in the Table.
Table 1B Polymorphisms information
|  |  |  | Polymorphisms |  |  | HGVS nomenclature using NG_000006.1 | [6 empty] | Reference SNP ID
|  |  |  | Polym 1A |  |  | g.30717T>C | [6 empty] | rs2258435
|  |  |  | Polym 1B |  |  | g.34974C>T | [6 empty] | rs376988236
|  |  |  | Polym 2A |  |  | g.31233T>C | [6 empty] | rs1341092223
|  |  |  | Polym 2B |  |  | g.35489C>T | [6 empty] | rs189542660 | [23 empty] | » The 172 nt, 214 nt and 220 nt probes detect sequences that are present in both HBA1 and HBA2. Deletions/duplications affecting one of the target sequences of these probes results in a 20-25% decrease/increase in probe signal intensity. These probes are mentioned twice in the Table.
|  |  |  | Polym 3A |  |  | g.33103G>A | [6 empty] | rs143196637
|  |  |  | Polym 3B |  |  | g.36907A>G | [6 empty] | rs3760045
|  |  |  | Polym 4A |  |  | g.34247T>G | [6 empty] | rs2362746
|  |  |  | Polym 4B |  |  | g.38051G>T | [6 empty] | rs148228241
|  |  |  | Polym 5A |  |  | g.34311delGinsCTCGGCCC | [6 empty] | rs1596570272
|  |  |  | Polym 5B |  |  | g.38115_38122delCTCGGCCCinsG | [6 empty] | rs1902166069
|  |  |  | African polym 1 |  |  | g.[34247T>G; 34311delGinsCTCGGCCC] | [6 empty] | [1]
|  |  |  | African polym 2 |  |  | g.[38051G>T; 38115_38122delCTCGGCCCinsG] | [6 empty] | [1]